Supplementary Table1: Detailed Information on Hemofilters Used in CVVH

| Hemofilter Model | Manufacturer | Membrane Material | Surface Area (m2) |
| --- | --- | --- | --- |
| Prismaflex M150 | Baxter International Inc. | Polyflux® polysulfone-based synthetic membrane | 1.5 |
| 19U | Nipro Corporation | Cellulose Triacetate | 1.9 |
| OXiris Set | Baxter International Inc. | AN69 membrane coated with polyethylenimine and heparin | 1.5 |
| ST100 | Baxter International Inc. | AN69 membrane with a polyethylenimine coating | 1.0 |
| Acute Series | B. Braun SE | Polysulfone membrane | 1.0 - 2.0 |

Abbreviations: CVVH, Continuous Veno-Venous Hemofiltration.