# Supplementary Material 1

# HTA OF TOTAL LABORATORY AUTOMATION FOR MICROBIOLOGY ACTIVITIES

Prioritization Phase

Dear Doctor/Nurses/Healthcare Professional,

the questionnaire that we ask you to fill in, aims at evaluating the perceived safety profile, concerning the introduction of automated technologies enabling a total laboratory automation within the microbiology setting, through a Health Technology Assessment (HTA) approach.

In particular, the present HTA activities, focused on the introduction of a TLA indicating systems which are capable of processing broths, slides and agar plates (media). These systems can thus inoculate, incubate and image plates.

The multi-dimensional evaluation considered and compared the following two scenarios:

- Scenario 1. Microbiological lab including manual plate streaking, standard incubation systems, biochemical identification (ID) methods, and automated antimicrobial susceptibility testing (AST) instruments. No middleware system, directly connected to the LIS, is present to integrate these processes and instruments.

- Scenario 2. Presence of a lab automation solution, including full middleware integration, automated plate streaking using magnetic beads and calibrated pipette inoculation, automated incubation, and digital plate reading. Additional automation included colony picking and MALDI-TOF sample preparation. Microbial identification is performed using a middleware-connected MALDI-TOF system, and antimicrobial susceptibility testing (AST) is conducted using a middleware-connected automated instrument.

Based on your own experience and perception, we kindly ask you to evaluate every single item, in accordance with a 7-item Likert scale, ranging from -3 to + 3 (impact index: 0: null; +1: low positive; + 2: medium positive; +3: high positive; -1 negative low; -2: negative average; -3: high negative).

Data will be investigated using aggregated methods. Information will be confidential, in accordance with the EU Regulation n. 679 of 04.05.2016.

We thank you in advance for your support.

Safety impact

Impact of the technology on the general patients’ safety profile

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the general healthcare professionals’ safety profile

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the healthcare professionals’ exposure risk to potential pathogens

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the workplace safety

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of reporting errors, considering blood samples

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of reporting errors, considering urine samples

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of processing errors, considering blood samples

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of processing errors, considering urine samples

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of traceability errors, considering blood samples

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of traceability errors, considering urine samples

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology in patient antibiotic management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Effectiveness impact

Impact of the technology on the degree of specificity

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the speed of pathogen identifications

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the accuracy of pathogen identification

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the quality of isolation

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of isolated pathogen species

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the technology on the number of isolated single colonies

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the uniformity of plate streaking

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the diagnostic accuracy

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the number of correct plate recovery

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology of the number of correct tasks assigned

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology of the number of correct process information collected

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the recovery of fastidious microorganisms

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Equity impact

Access to care on local level

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Access to care for fragile and legally protected status individuals

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on laboratory procedures' waiting list

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Generation of health migration phenomena

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Existence of factors limiting the use of the technology for a group of patients

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Ability of the technology to guarantee the quality of care

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the process in accessibility to laboratory exams

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Social & Ethical impact

Ability of the technology to protect patients’ autonomy

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Ability of the technology to protect human rights

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Ability of the technology to protect patients’ integrity

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Ability of the technology to protect patients’ dignity

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Ability of the technology to protect patients’ religion

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the procedure on social costs

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Patients and citizens have a good level of the technology understanding

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on patients’ satisfaction

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on patient’s perceived quality of life

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the care giver’s life and perception

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on proper care of the patient

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the patients’ waiting time, focusing on laboratory procedures

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology of the appropriateness of antibiotic drug prescription

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on patient outcomes, given a better antibiotic management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Legal impact

Permission level of technology

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Need for inclusion of the technology in registry

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Fulfillment of the safety requirements

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Production warranties

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Price control

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

The need to regulate the acquisition of technology

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

The technology manual of use is exhaustive and complete

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Compliance with ISO15189 standards and accreditation bodies requirements

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Qualitative organizational impact, considering a 12-month time horizon

Impact on additional staff

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on training courses

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on hospital meeting

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the healthcare professionals’ learning curve

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on equipment update

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on laboratory internal processes

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on connection processes among wards and laboratory

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the patient clinical pathway

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on workflow standardization

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on healthcare professional productivity

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on change resilience by the staff involved

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on change management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the organizational costs

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the organizational efficiency

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the overall laboratory productivity

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the turnaround time for reporting culture-based tests

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the hands-on time

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the time to final report

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the maintenance of staffing schedules

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the laboratory standardization

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the skill set needed by microbiology technologists

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the time spent by the healthcare professionals in switching between different tasks

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on patient’s length of stay, given a better antibiotic management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the time to final report

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the maintenance of staffing schedules

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the laboratory standardization

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the skill set needed by microbiology technologists

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the time spent by the healthcare professionals in switching between different tasks

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on patient’s length of stay, given a better antibiotic management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Qualitative organizational impact, considering a 36-month time horizon

Impact on additional staff

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on training courses

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on hospital meeting

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the healthcare professionals’ learning curve

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on equipment update

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on laboratory internal processes

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on connection processes among wards and laboratory

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the patient clinical pathway

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on workflow standardization

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on healthcare professional productivity

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on change resilience by the staff involved

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on change management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the organizational costs

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the organizational efficiency

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the overall laboratory productivity

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the turnaround time for reporting culture-based tests

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the hands-on time

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the time to final report

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the maintenance of staffing schedules

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the laboratory standardization

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the skill set needed by microbiology technologists

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on the time spent by the healthcare professionals in switching between different tasks

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact on patient’s length of stay, given a better antibiotic management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the time to final report

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the maintenance of staffing schedules

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the laboratory standardization

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the skill set needed by microbiology technologists

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on the time spent by the healthcare professionals in switching between different tasks

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

Impact of the technology on patient’s length of stay, given a better antibiotic management

| Scenario 1. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scenario 2. | -3 | -2 | -1 | 0 | 1 | 2 | 3 |

# TECHNOLOGY ACCEPTANCE MODEL QUESTIONNAIRE

Dear Doctor/Nurses/Healthcare Professional,

We kindly ask you to complete the present questionnaire, to study the implications, and value drivers related to the implementation of healthcare technologies which are intended to support the total laboratory automation systems, to be implemented in clinical microbiology laboratories.

In particular, the present Technology Acceptance Model (TAM) questionnaire, was created in order to analyse the degree of acceptability (in terms of Perceived Usefulness, Perceived Ease of use, Attitude Toward using, External Variables) of automated technologies within the hospital setting, focusing on the presence of a lab automation solution supporting streaking, incubation, digital reading (assisted interpretation), colony picking and MALDI preparation, automatic ID method (biochemical/MALDI) and automatic AST instrument.

Please consider a 7-items scale ranging from 1 to 7 (1: extremely likely; 2: quite likely; 3: slightly likely;4: neither; 5: slightly unlikely; 6: quite unlikely; 7: extremely unlikely).

Data will be investigated using aggregated methods. Information will be confidential, in accordance with the EU Regulation n. 679 of 04.05.2016.

We thank you in advance for your support.

Respondent’s profile

□	Gender

o	Male

o	Female

□	Age: ________________________

□	Length of service [years]: _____________________________

□	Length of service in the current Unit: __________________________-

□	Professional role: _______________________________

- Perceived Usefulness

| Using an automated technology in my job would enable me to accomplish my tasks more quickly | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Using an automated technology would improve my job performance | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| Using an automated technology would increase my productivity | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| Using an automated technology would enhance my job’s effectiveness (in terms of the empowerment of the job’s outcome and results) | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| Using an automated technology would make it easier to do my job | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| I would find an automated technology useful in my job | 1 | 2 | 3 | 4 | 5 | 6 | 7 |

- Perceived Ease of Use

| Learning to operate an automated technology would be easy for me | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| I would find it easy to get an automated technology to do what I want it to do | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| My interaction with an automated technology would be clear and understandable | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| I would find an automated technology to be flexible to interact with | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| It would be easy for me to become skilled at using an automated technology | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| I would find an automated technology easy to use | 1 | 2 | 3 | 4 | 5 | 6 | 7 |

- Voluntary use

| My use of an automated technology is voluntary | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| My supervisor does not want me to use an automated technology | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| Although it might be helpful, using the automated technology is certainly not compulsory | 1 | 2 | 3 | 4 | 5 | 6 | 7 |

- Image

| Hospitals who use automated technology have more prestige than those who do not | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| People in my organization who use an automated technology have a high profile | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| Having an automated technology is a status symbol in my organization | 1 | 2 | 3 | 4 | 5 | 6 | 7 |

- Job relevance

| In my job, usage of an automated technology is important | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| In my job, usage of an automated technology is relevant | 1 | 2 | 3 | 4 | 5 | 6 | 7 |

- Quality of output

| The quality of the output I get from an automated technology is high | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| I have no problem with the quality of an automated technology’s output | 1 | 2 | 3 | 4 | 5 | 6 | 7 |

- Results demonstrability

| I have no difficulty telling others about the results of using an automated technology | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| I could communicate to others the consequences of using an automated technology | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| The results of using an automated technology are clear to me | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| I would have difficulties in explaining why using automated technology may or may not be beneficial | 1 | 2 | 3 | 4 | 5 | 6 | 7 |

- Intention to use

| If I could, I would use such automated technologies | 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Given I have automated technologies, I predict that I would use them | 1 | 2 | 3 | 4 | 5 | 6 | 7 |