# Supplementary Information

# SI 1.  Specific scan sequence and parameters of MRI

| scan sequence | pulse sequence | TR (ms) | TE (ms) | slice(mm) | gap(mm) | FOV (mmmm) | matrix | NSA |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sagittal T2WI | TSE | 4978.00 | 100.00 | 1.50 | 0.15 | 240180 | 240161 | 2 |
| Axial T2WI | TSE | 3000.00 | 100.00 | 3.00 | 0.00 | 220220 | 276238 | 3 |
| Axial T1WI | TSE | 556.00 | 8.00 | 5.00 | 0.00 | 249415 | 276406 | 1 |
| Axial DWI | SS-EPI | 6000.00 | 77.00 | 3.00 | 0.00 | 260260 | 104125 | 2 |
| Axial DCE-MRI | e-THRIVE | 3.10 | 1.45 | 3.00 | 0.00 | 220220 | 124121 | 2 |

Abbreviations：TR, repetition time; TE, echo time; FOV, field of view; NSA, number of signal average; T2WI, T2-weighted imaging; T1WI, T1-weighted imaging; DWI, multi-b values (b=0, 200, 1000, 2000 s/mm2) diffusion weighted imaging; DCE-MRI, dynamic contrast enhanced MR imaging; TSE, turbo spin-echo; SS-EPI, single-shot echo-planar imaging; e-THRIVE, enhanced T1 high resolution isotropic volume excitation

SI 2. Ellipsoid volume formula

PV=π6×D1×D2×D3

Where D1, D2 and D3 are the diameters of the ellipsoid in three orthogonal directions, respectively.

Abbreviation: PV, prostate volume

SI 3. The equation for calculating the net benefits of a series of different threshold probabilities (Pt)

Net Benefit=True Positive Countn-Flase Positive Countn(Pt1-Pt)

Where threshold probability (Pt) is the probability at which the effect of a false-positive intervention is equal to the effect of a false-negative non-intervention.

SI 4. The regression equations of prediction model1 and model2

Model1：LogitcsPCa=-7.686-4.223×f/t+0.088×age+3.142×PSAD

Model2：LogitcsPCa=-7.248-4.273×f/t+0.067×age+1.855×PSAD+0.666×PIRADS3+2.067×PIRADS4+3.359×(PIRADS5)

Abbreviations: csPCa, clinically significant prostate cancer; f/t, free-to-total prostate-specific antigen ratio; PSAD, prostate-specific antigen density; PI-RADS, Prostate Imaging Reporting and Data System

SI 5.  The equation for calculating the probability (P) of csPCa appearing in an individual

P=elogit(csPCa)1+elogit(csPCa)