Supplementary materials

Table S1: Data obtained for Carajurin’s analytical curve of  analytical analysis according to Wen et al.1 performed with a Shimadzu series High Pressure Liquid Chromatography (HPLC) system.

| Concentration (µg mL-1) | Area 1 | Area 2 | Area 3 | Average Area | S.d.* | CV (%)** |
| --- | --- | --- | --- | --- | --- | --- |
| 9.94 | 265052 | 247060 | 253696 | 255269 | 9098,6 | 3.56 |
| 19.9 | 496142 | 488425 | 499905 | 494824 | 5852,4 | 1.18 |
| 49.7 | 1200332 | 1188052 | 1193062 | 1193815 | 6174,6 | 0.52 |
| 74.6 | 1826550 | 1938315 | 1845508 | 1870124 | 59810,8 | 3.20 |
| 124.3 | 3072762 | 3072032 | 3103528 | 3082774 | 17977,2 | 0.58 |
| 149.1 | 3818296 | 3713887 | 3834134 | 3788772 | 65334,3 | 1.72 |

*Standard deviation from 3 analytical curves areas.

** Coefficient of variation.

Figure S1: Analytical curve from Carajurin marker of  analytical analysis according to Wen et al.1 performed with a Shimadzu series High Pressure Liquid Chromatography (HPLC) system.

Figure S2: Chromatographic profile of Arrabidaea chica extract of analytical analysis according to Wen et al.1 performed with a Shimadzu series High Pressure Liquid Chromatography (HPLC) system.

Shimadzu, column C18 Gemini, =470nm, flux 1 mL/min, oven 35 °C and software Class VP –5, (RT=5.8 min) (6,7,3’,4’-tetra-hydroxy-5-methoxyflavylium) (RT= 7.9 min) (6,7-tri-hydoxy-5-methoxyflavylium) and (RT=15,8) (6,7-di-hydroxy-5,4’-dimethoxyflavylium, Carajurin).

Reference

1. 	Wen D, Li C, Di H, Liao Y, Liu H. A Universal HPLC Method for the Determination of Phenolic Acids in Compound Herbal Medicines. J Agric Food Chem. 2005;53(17):6624-6629. doi:10.1021/jf0511291