#### Supplementary Table 1 The scanning parameters of magnetic resonance imaging acquisition

| Acquisition Sequence | Scanner Trade Name (Field Strength) (number of patients scanned) | FOV (mm) | Matrix Size | Section Thickness (mm) | Repetition Time (msec) | Echo Time (msec) | Flip Angle (°) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| T1WI-FS | Siemens Trio Tim (3T) (n=48) | 400×280 | 352×194 | 3 | 3.86 | 1.23 | 9 |
|  | GE Signa Pioneer (3T) (n=16) | 380×380 | 288×208 | 4 | 4.7 | 1.7 | 15 |
|  | GE Discovery MR750w (3T) (n=57) | 380×360 | 288×208 | 4 | 4.9 | 1.7 | 15 |
|  | GE Signa HDxt (1.5T) (n=11) | 400×400 | 320×224 | 4.6 | 3.5 | 1.7 | 15 |
| T1WI (Contrast-enhanced) | Siemens Trio Tim (3T) (n=48) | 400×280 | 352×194 | 3 | 4.21 | 1.9 | 9 |
|  | GE Signa Pioneer (3T) (n=16) | 380×380 | 288×208 | 4 | 4.7 | 1.7 | 12 |
|  | GE Discovery MR750w (3T) (n=57) | 380×360 | 288×208 | 4 | 4.3 | 1.7 | 15 |
|  | GE Signa HDxt (1.5T) (n=11) | 400×400 | 320×224 | 4.6 | 3.5 | 1.7 | 15 |
| T2WI-FS | Siemens Trio Tim (3T) (n=48) | 400×300 | 320×240 | 5 | 5253 | 90 | 120 |
|  | GE Signa Pioneer (3T) (n=16) | 380×380 | 320×320 | 5 | 7500 | 73 | 111 |
|  | GE Discovery MR750w (3T) (n=57) | 380×380 | 320×320 | 5 | 8571 | 93 | 142 |
|  | GE Signa HDxt (1.5T) (n=11) | 400×400 | 320×192 | 5 | 6000 | 81 | 90 |
| T1WI (HBP) | Siemens Trio Tim (3T) (n=48) | 400×280 | 352×194 | 3 | 4.21 | 1.9 | 15 |
|  | GE Signa Pioneer (3T) (n=16) | 380×380 | 288×208 | 4 | 5.4 | 1.9 | 30 |
|  | GE Discovery MR750w (3T) (n=57) | 380×360 | 288×208 | 4 | 5.2 | 1.9 | 30 |
|  | GE Signa HDxt (1.5T) (n=11) | 400×400 | 320×224 | 4.6 | 3.5 | 1.7 | 15 |

Abbreviations: T1WI, T1-weighted imaging; FS, fat suppression; T2WI, T2-weighted imaging; HBP, hepatobiliary phase; FOV, field of view.