Supplementary Figure 1 The standard curve and correlation equation of R848 determined by HPLC.

(A) HPLC chromatogram of free R848 and PLGA-ICG-R848. (B) The standard curve of R848 determined by HPLC. (C) The linear regression equation of R848 standard curve was calculated as y = 45925x-11913 (R2 = 0.9997). *y: Peak area; x: Concentration (µg/ml). The correlation coefficient is higher than 0.999, showing a good linearity.