## Suppl. Table 1, reliability
Supplementary Table 1: Detailed Dataextraction sheet for the reliability studies of all settings Abbreviations; CI : confidence interval, CV coefficient of variation, ICC: Intraclass correlation coefficient agreement, LoA: limits of agreement, MDC95: minimal detectable change 95, MDC95_perc: minimal detectable change 95 %, MDC90: minimal detectable change 90, MDC90_perc: minimal detectable change 90 %, Reliability criteria for good measurement properties + sufficient, - insufficient, ? Indeterminate, SEM: standard errror of measurement, SEM_perc: standard error of measurement in %, CVSEM: coefficient of variation SEM
Author | Year | Setting | N | Test | Quality assessment COSMIN RoB | Reliability criteria for good measurement properties | ICC | ICC_CI_lower_bound | ICC_CI_upper_bound | ICC_Model | Test_Retest1_Inter_Tester | Trial_nr | Time_between_trials | SEM | SEM_perc | CVSEM | LoA_lower_bound | LoA_upper_bound | Bland_Altmann_bias | CV | MDC95 | MDC90 | MDC95_perc | MDC90_perc | Minimal Important Change | Minimal Detectable Change
André | 2016 | Community-dwelling | 12 | CALF RAISE SENIOR | doubtful | + | 0.84 | 0.72 | 0.97 | 2.1 | Inter-Rater | 2 | Consecutive | [11 empty] | 3.5 | 4.6
André | 2016 | Community-dwelling | 41 | CALF RAISE SENIOR | doubtful | + | 0.903 | 0.824 | 0.947 | 2.1 | Intra-Rater |  | Consecutive | 1.8 |  |  | -7.5072 | 9.4272 | 0.96 | [5 empty] | 3.5 | 4.6
Anson | 2017 | Community-dwelling | 55 | BEST | doubtful | + | 0.86 | 0.77 | 0.92 | 2.1 | Intra-Rater |  | 4weeks | 3.2 | [6 empty] | 8.9
Anson | 2017 | Community-dwelling | 55 | MINI BEST | doubtful | + | 0.84 | 0.73 | 0.9 | 2.1 | Intra-Rater |  | 4weeks | 1.4 | [6 empty] | 4
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP FLEX SITTING | adequate | + | 0.845 | 0.63 | 0.94 | Two way mixed model with absolute agreement | Inter-Rater |  | Consecutive | 1.57 | [6 empty] | 4.3518
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP FLEX STANDING | adequate | + | 0.85 | 0.64 | 0.94 | Two way mixed model with absolute agreement | Inter-Rater |  | Consecutive | 1.42 | [6 empty] | 3.936
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP ABD SUPINE | adequate | + | 0.845 | 0.63 | 0.94 | Two way mixed model with absolute agreement | Inter-Rater |  | Consecutive | 1.375 | [6 empty] | 3.8113
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP ABD STANDING | adequate | + | 0.915 | 0.79 | 0.97 | Two way mixed model with absolute agreement | Inter-Rater |  | Consecutive | 1.135 | [6 empty] | 3.1461
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER KNEE EXT 45° | adequate | + | 0.825 | 0.59 | 0.93 | Two way mixed model with absolute agreement | Inter-Rater |  | Consecutive | 1.84 | [6 empty] | 5.1002
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER DORSIFLEX SITTING | adequate | - | 0.55 | 0.13 | 0.8 | Two way mixed model with absolute agreement | Inter-Rater |  | Consecutive | 1.745 | [6 empty] | 4.8369
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP EXT STANDING | adequate | + | 0.925 | 0.81 | 0.97 | Two way mixed model with absolute agreement | Inter-Rater |  | Consecutive | 1.275 | [6 empty] | 3.5341
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP FLEX SITTING | adequate | + | 0.875 | 0.7 | 0.95 | Two way mixed model with absolute agreement | Intra-Rater |  | Consecutive | 1.395 | [6 empty] | 3.8667
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP FLEX STANDING | adequate | + | 0.875 | 0.7 | 0.95 | Two way mixed model with absolute agreement | Intra-Rater |  | Consecutive | 1.34 | [6 empty] | 3.7143
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP ABD SUPINE | adequate | + | 0.89 | 0.73 | 0.96 | Two way mixed model with absolute agreement | Intra-Rater |  | Consecutive | 0.975 | [6 empty] | 2.7026
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP ABD STANDING | adequate | + | 0.935 | 0.84 | 0.98 | Two way mixed model with absolute agreement | Intra-Rater |  | Consecutive | 1.05 | [6 empty] | 2.9105
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER KNEE EXT 45° | adequate | + | 0.86 | 0.66 | 0.95 | Two way mixed model with absolute agreement | Intra-Rater |  | Consecutive | 1.73 | [6 empty] | 4.7953
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER DORSIFLEX SITTING | adequate | + | 0.8 | 0.54 | 0.92 | Two way mixed model with absolute agreement | Intra-Rater |  | Consecutive | 1.195 | [6 empty] | 3.3124
Arnold | 2010 | Community-dwelling | 18 | DYNAMOMETER HIP EXT STANDING | adequate | + | 0.83 | 0.6 | 0.93 | Two way mixed model with absolute agreement | Intra-Rater |  | Consecutive | 1.79 | [6 empty] | 4.9616
Bautmans | 2011 | Hospitalized and community-dwelling | 81 | GAIT SPEED | adequate | + | 0.935 | 0.9 | 0.96 | 2.1 | Inter-Rater |  | simultanious | 0.065 |  | 5.7 | -0.21914 | 0.18424 | -0.0349 |  | 0.18017
Bautmans | 2011 | Hospitalized and community-dwelling | 81 | GAIT SPEED MEAN OF TWO | adequate | + | 0.975 | 0.96 | 0.98 | 2.1 | Inter-Rater |  | simultanious | 0.045 |  | 4.4 | -0.1527 | 0.1227 | -0.03 |  | 0.12473
Bautmans | 2011 | Hospitalized and community-dwelling | 81 | GAIT SPEED | adequate | + | 0.955 | 0.93 | 0.97 | 2.1 | Intra-Rater |  | Consecutive | 0.055 |  | 4.8 | -0.20317 | 0.15837 | -0.0448 |  | 0.15245
Bautmans | 2011 | Hospitalized and community-dwelling | 32 | GAIT SPEED MEAN OF TWO | adequate | + | 0.99 | 0.98 | 0.99 | 2.1 | Intra-Rater |  | Consecutive | 0.035 |  | 3.5 | -0.16416 | 0.12426 | -0.0399 |  | 0.097015
Bruyneel | 2018 | Hospitalized and community-dwelling | 32 | DYNAMOMETER HIP ABD STANDING | doubtful | + | 0.98 | 0.95 | 0.99 | 2.1 | Intra-Rater |  | 1-3 h | 0.09 |  |  | -0.38 | 0.4 | 0.007 |  | 0.24947 |  | 25.2
Bruyneel | 2018 | Hospitalized and community-dwelling | 32 | DYNAMOMETER HIP ABD STANDING RFG | doubtful | + | 0.93 | 0.87 | 0.97 | 2.1 | Intra-Rater |  | 1-3 h | 1.24 |  |  | -3.01 | 3.48 | 0.23 |  | 3.4371 |  | 44.3
Ford-Smith | 2001 | Community-dwelling | 25 | DYNAMOMETER HIP EXT SUPINE | doubtful | + | 0.74 | 0.49 | 0.88 | 3.1 | Intra-Rater |  | 7 d
Ford-Smith | 2001 | Community-dwelling | 25 | DYNAMOMETER HIP FLEX SITTING | doubtful | + | 0.91 | 0.81 | 0.96 | 3.1 | Intra-Rater |  | 7 d
Ford-Smith | 2001 | Community-dwelling | 25 | DYNAMOMETER KNEE EXT 90° | doubtful | + | 0.9 | 0.79 | 0.95 | 3.1 | Intra-Rater |  | 7 d
Ford-Smith | 2001 | Community-dwelling | 25 | DYNAMOMETER KNEE FLEX | doubtful | + | 0.85 | 0.65 | 0.93 | 3.1 | Intra-Rater |  | 7 d
Ford-Smith | 2001 | Community-dwelling | 25 | DYNAMOMETER PLANTARFLEX | doubtful | + | 0.71 | 0.44 | 0.86 | 3.1 | Intra-Rater |  | 7 d
Ford-Smith | 2001 | Community-dwelling | 25 | DYNAMOMETER DORSIFLEX LYING | doubtful | + | 0.84 | 0.67 | 0.93 | 3.1 | Intra-Rater |  | 7 d
Gafner | 2017 | Hospitalized and community-dwelling | 76 | DYNAMOMETER HIP ABD SIDELYING MAX | doubtful | + | 0.94 | 0.87 | 0.97 | 2.1 | Intra-Rater |  | 1-3 h | 0.12 | [6 empty] | 0.33262 |  | 32
Gafner | 2017 | Hospitalized and community-dwelling | 76 | DYNAMOMETER HIP ABD SIDELYING RFG | doubtful | + | 0.94 | 0.91 | 0.97 | 2.1 | Intra-Rater |  | 1-3 h | 1.05 | [6 empty] | 2.9105 |  | 51
Gafner | 2017 | Hospitalized and community-dwelling | 76 | DYNAMOMETER HIP ADD SIDELYING MAX | doubtful | + | 0.9 | 0.84 | 0.95 | 2.1 | Intra-Rater |  | 1-3 h | 0.17 | [6 empty] | 0.47122 |  | 39
Gafner | 2017 | Hospitalized and community-dwelling | 76 | DYNAMOMETER HIP ADD SIDELYING RFG | doubtful | + | 0.94 | 0.9 | 0.97 | 2.1 | Intra-Rater |  | 1-3 h | 0.77 | [6 empty] | 2.1343 |  | 48
Goldberg | 2011 | Community-dwelling | 30 | GAIT SPEED | very good | + | 0.97 | 0.94 | 0.99 | 3.1 | Intra-Rater |  | Consecutive | 4.9 | 4.6 | [5 empty] | 13.5821 |  | 12.7
Hars | 2013 | Community-dwelling | 60 | GAIT SPEED | adequate | + | 0.84 | 0.69 | 0.92 | 2.1 | Intra-Rater |  | 1 h | 4.5 | 4.3 | [5 empty] | 12.4 |  | 11.8
Hars | 2013 | Hospital | 60 | GAIT SPEED | adequate | + | 0.92 | 0.82 | 0.96 | 2.1 | Intra-Rater |  | 1 h | 3.5 | 5.7 | [5 empty] | 9.6 |  | 15.8
Hars | 2013 | Community-dwelling | 60 | GAIT SPEED FAST | adequate | + | 0.9 | 0.8 | 0.95 | 2.1 | Intra-Rater |  | 1 h | 3.9 | 2.7 | [5 empty] | 10.8 |  | 7.5
Hars | 2013 | Hospital | 60 | GAIT SPEED FAST | adequate | + | 0.94 | 0.84 | 0.98 | 2.1 | Intra-Rater |  | 1 h | 3.8 | 4.8 | [5 empty] | 10.5 |  | 13.4
Hars | 2013 | Community-dwelling | 60 | GAIT SPEED DUALTASK | adequate | + | 0.85 | 0.7 | 0.92 | 2.1 | Intra-Rater |  | 1 h | 5.6 | 5.9 | [5 empty] | 15.5 |  | 16.3
Hars | 2013 | Hospital | 60 | GAIT SPEED DUALTASK | adequate | + | 0.91 | 0.84 | 0.94 | 2.1 | Intra-Rater |  | 1 h | 3.6 | 6.5 | [5 empty] | 10 |  | 18.1
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED | adequate | + | 0.94 | 0.87 | 0.98 | 2.1 | Inter-Rater |  | 20min |  |  |  | -0.1 | 0.1 |  | 0.027
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED DUALTASK | adequate | + | 0.97 | 0.91 | 0.99 | 2.1 | Inter-Rater |  | 20min |  |  |  | -0.09 | 0.09 |  | 0.024
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED FOAM | adequate | + | 0.96 | 0.9 | 0.99 | 2.1 | Inter-Rater |  | 20min |  |  |  | -0.08 | 0.08 |  | 0.02
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED FOAM DUALTASK | adequate | + | 0.95 | 0.87 | 0.98 | 2.1 | Inter-Rater |  | 20min |  |  |  | -0.13 | 0.13 |  | 0.037
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED | adequate | + | 0.93 | 0.84 | 0.97 | 3.1 | Intra-Rater |  | 5-10d |  |  |  | -0.12 | 0.12 |  | 0.031
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED DUALTASK | adequate | + | 0.92 | 0.8 | 0.97 | 3.1 | Intra-Rater |  | 5-10d |  |  |  | -0.13 | 0.13 |  | 0.037
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED FOAM | adequate | + | 0.98 | 0.93 | 0.99 | 3.1 | Intra-Rater |  | 5-10d |  |  |  | -0.07 | 0.07 |  | 0.019
Hartmann | 2009 | Community-dwelling | 23 | GAIT SPEED FOAM DUALTASK | adequate | + | 0.93 | 0.84 | 0.97 | 3.1 | Intra-Rater |  | 5-10d |  |  |  | -0.13 | 0.13 |  | 0.034
Hofheinz | 2010 | Community-dwelling | 23 | TUG FAST | inadequate | + | 0.94 | 0.86 | 0.97 | / | Intra-Rater |  | 24h - 7d
Hofheinz | 2010 | Community-dwelling | 23 | TUG MAN FAST | inadequate | + | 0.99 | 0.98 | 1 | / | Intra-Rater |  | 24h - 7d
Hofheinz | 2010 | Community-dwelling | 23 | TUG COG FAST | inadequate | + | 0.94 | 0.86 | 0.97 | / | Intra-Rater |  | 24h - 7d
Holbein-Jenny | 2005 | Nursing home | 27 | BBS | adequate | + | 0.88 | 0.75 | 0.94 | 1.1 | Inter-Rater |  | simultanious | [5 empty] | 2.7
Holbein-Jenny | 2005 | Nursing home | 27 | FRT | adequate | + | 0.98 | 0.96 | 0.99 | 1.1 | Inter-Rater |  | simultanious | [5 empty] | 1.016
Holbein-Jenny | 2005 | Nursing home | 27 | BBS | adequate | + | 0.77 | 0.56 | 0.89 | 1.1 | Intra-Rater |  | 7-14d | [5 empty] | 4.6
Holbein-Jenny | 2005 | Nursing home | 27 | FRT | adequate | + | 0.75 | 0.52 | 0.88 | 1.1 | Intra-Rater |  | 7-14d | [5 empty] | 3.556
Katoh | 2014 | Community-dwelling | 186 | DYNAMOMETER KNEE EXT 90° | doubtful | + | 0.955 | 0.94 | 0.966 | 1.1 | Intra-Rater | 3 | Consecutive |  |  |  | -5.6 | 4.6 | -0.5
Lee | 2016 | Community-dwelling | 15 | TUG FAST | adequate | + | 0.887 | 0.675 | 0.962 | 3.3 | Intra-Rater |  | 1-10d | 0.87 | [6 empty] | 2.41
Lee | 2016 | Community-dwelling | 15 | TUG FAST 6M | adequate | + | 0.95 | 0.85 | 0.983 | 3.3 | Intra-Rater |  | 1-10d | 0.84 | [6 empty] | 2.33
Lee | 2016 | Community-dwelling | 15 | TUG FAST 9M | adequate | + | 0.96 | 0.881 | 0.986 | 3.3 | Intra-Rater |  | 1-10d | 0.96 | [6 empty] | 2.66
Marques | 2016 | Community-dwelling | 28 | BEST | doubtful | + | 0.88 | 0.77 | 0.94 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -2.2 | 2 | -0.1
Marques | 2016 | Community-dwelling | 28 | MINI BEST | doubtful | + | 0.77 | 0.73 | 0.92 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -6.5 | 7.2 | 0.4
Marques | 2016 | Community-dwelling | 28 | BRIEF BEST | doubtful | + | 0.71 | 0.5 | 0.84 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -4.2 | 3.7 | -0.2
Marques | 2016 | Community-dwelling | 28 | BBS | doubtful | + | 0.93 | 0.87 | 0.97 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -2.5 | 2.1 | -0.2
Marques | 2016 | Community-dwelling | 28 | BEST | doubtful | + | 0.5 | 0.15 | 0.73 | 2.1 | Intra-Rater |  | 48-72h | 3.3 |  |  | -4.6 | 3.2 | -0.7 |  | 9 |  | 10.2
Marques | 2016 | Community-dwelling | 28 | MINI BEST | doubtful | + | 0.77 | 0.55 | 0.88 | 2.1 | Intra-Rater |  | 48-72h | 1.4 |  |  | -10.6 | 6.9 | -1.6 |  | 3.8 |  | 16.3
Marques | 2016 | Community-dwelling | 28 | BRIEF BEST | doubtful | + | 0.73 | 0.49 | 0.86 | 2.1 | Intra-Rater |  | 48-72h | 1.5 |  |  | -4.2 | 3.3 | -0.4 |  | 1.5 |  | 21.5
Marques | 2016 | Community-dwelling | 28 | BBS | doubtful | + | 0.82 | 0.65 | 0.91 | 2.1 | Intra-Rater |  | 48-72h | 1.7 |  |  | -4.4 | 3.5 | -0.4 |  | 4.6 |  | 8.6
Martinez | 2016 | Hospital | 110 | GAIT SPEED FAST | adequate | + | 0.99 | 0.98 | 0.99 | two-way random effects consistency model | Intra-Rater |  | Consecutive |  |  |  | -0.25 | 0.27 | -0.04
Shumway-Cook | 2000 | Community-dwelling | 30 | TUG FAST | doubtful | + | 0.98 | 0.96 | 0.88 | 3.3 | Inter-Rater
Shumway-Cook | 2000 | Community-dwelling | 30 | TUG COG FAST | doubtful | + | 0.99 | 0.98 | 1 | 3.3 | Inter-Rater
Shumway-Cook | 2000 | Community-dwelling | 30 | TUG MAN FAST | doubtful | + | 0.99 | 0.98 | 1 | 3.3 | Inter-Rater
Smith | 2016 | Community-dwelling | 12 | TUG FAST | adequate | + | 0.96 | 0.912 | 0.987 | 3.1 | Intra-Rater |  | 5consecutive d | 0.08 | 0.85 | [5 empty] | 0.22175
Smith | 2016 | Community-dwelling | 12 | TUG MAN FAST | adequate | + | 0.916 | 0.821 | 0.971 | 3.1 | Intra-Rater |  | 5consecutive d | 0.04 | 0.36 | [5 empty] | 0.11087
Smith | 2016 | Community-dwelling | 12 | TUG COG FAST | adequate | + | 0.987 | 0.971 | 0.947 | 3.1 | Intra-Rater |  | 5consecutive d | 0.23 | 2 | [5 empty] | 0.63753
Viveiro | 2018 | Nursing home | 49 | BBS | doubtful | + | 0.993 | 0.988 | 0.996 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -3.624 | 3.824 | 0.1
Viveiro | 2018 | Nursing home | 49 | BEST | doubtful | + | 0.994 | 0.989 | 0.997 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -7.648 | 7.248 | -0.2
Viveiro | 2018 | Nursing home | 49 | MINI BEST | doubtful | + | 0.992 | 0.986 | 0.996 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -2.652 | 2.052 | -0.3
Viveiro | 2018 | Nursing home | 49 | BRIEF BEST | doubtful | + | 0.993 | 0.987 | 0.996 | 2.1 | Inter-Rater |  | simultanious |  |  |  | -1.98 | 1.94 | -0.02
Viveiro | 2018 | Nursing home | 37 | BBS | doubtful | + | 0.885 | 0.787 | 0.94 | 2.1 | Intra-Rater |  | 7-14d | 3.8 |  |  | -11.392 | 8.992 | -1.2 |  | 10.5
Viveiro | 2018 | Nursing home | 37 | BEST | doubtful | + | 0.944 | 0.893 | 0.971 | 2.1 | Intra-Rater |  | 7-14d | 5.6 | 5.2 |  | -16.984 | 13.984 | -1.5 |  | 15.6 |  | 14.4
Viveiro | 2018 | Nursing home | 37 | MINI BEST | doubtful | + | 0.934 | 0.856 | 0.968 | 2.1 | Intra-Rater |  | 7-14d | 1.8 |  |  | -6.484 | 4.884 | -0.8 |  | 4.9
Viveiro | 2018 | Nursing home | 37 | BRIEF BEST | doubtful | + | 0.939 | 0.884 | 0.968 | 2.1 | Intra-Rater |  | 7-14d | 1.4 | 6 |  | -4.216 | 4.016 | -0.1 |  | 4 |  | 16.5
Wang-Hsu | 2018 | Community-dwelling | 32 | BEST | adequate | + | 0.97 | 0.94 | 0.99 | 2.1 | Inter-Rater |  | simultanious
Wang-Hsu | 2018 | Community-dwelling | 70 | BEST | adequate | + | 0.93 | 0.89 | 0.96 | 2.1 | Intra-Rater |  | 7-14d | 3 | 2.7 |  |  |  |  | 0.041 | 8.2 | 6.9 | 7.6 | 6.4
Yingyongyudha | 2016 | Community-dwelling | 12 | MINI BEST | doubtful | + | 0.9 | 0.69 | 0.97 | / | Intra-Rater |  | not mentionned
Yingyongyudha | 2016 | Community-dwelling | 12 | BEST | doubtful | + | 0.85 | 0.56 | 0.95 | / | Intra-Rater |  | not mentionned
Yingyongyudha | 2016 | Community-dwelling | 12 | TUG | doubtful | + | 0.92 | 0.75 | 0.98 | / | Intra-Rater |  | not mentionned

## Suppl. Table 2, validity
Supplementary Table 2: Detailed Dataextraction sheet for the validity studies of all settings Abbreviations; AUC: area under the curve, AUC CI 95%: area under the curve confidence intervall 95%, COSMIN: COnsensus-based Standards for the selection of health Measurement Instruments, LR+: likelihood ratio for a positive test, LR-: likelihood ratio for a negative test, R+ CI 95%: likelihood ratio for a positive test confidence interval 95%, LR- CI 95%: likelihood ratio for a negative test confidence interval 95%, QUADAS-2: Quality Assessment of Diagnostic Accuracy Studies-2 tool
[5 empty] | QUADAS-2 | [6 empty] | COSMIN |  | Population characterisitcs |  |  |  |  | For diagnostic accuracy
[5 empty] | Risk of Bias; 1: low,2:high,3:unclear, NA |  |  |  | Applicability concerns
Author | Year | Test | setting | Assessment of reference standard | Patient selection | Index Test | Reference Standard | Flow and timeing | Patient selection | Index test | Reference test | Criterion Validity criteria for good measurement properties | N analysed | age total group (mean) | Age total group (SD) in years | Gender n female | Gender % female | definition of the fallers | AUC | AUC CI 95% | cut off point fallers/non-fallers | <, >, ≤, ≥ | Unit (s, m, …) | True Positives | False Negatives | True Negatives | False Positives | Sensitivity | Sensitiviry CI 95% | Specificity | Specificity CI 95% | LR+ | LR+ CI 95% | LR- | LR- CI 95%
AbuSamah | 2018 | TUG | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 305 | 67.55 | 5.5 | 171 | 56.1 | 1 ≥ faller | NA | NA | 8 | ≥ | s | 68 | 13 | 72 | 150 | 0.8395 | 0.741-0.912 | 0.3243 | 26.3-39.0 | 1.24 | 1.09-1.42 | 0.49 | 0.29-0.84
AbuSamah | 2018 | TUG | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 305 | 67.55 | 5.5 | 171 | 56.1 | 1 ≥ faller | NA | NA | 9 | ≥ | s | 44 | 37 | 114 | 110 | 0.5432 | NA | 0.509 | NA | 1.11 | 0.87-1.41 | 0.9 | 0.69-1.18
AbuSamah | 2018 | TUG | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 305 | 67.55 | 5.5 | 171 | 56.1 | 1 ≥ faller | NA | NA | 10 | ≥ | s | 31 | 50 | 153 | 71 | 0.3827 | NA | 0.6847 | NA | 1.21 | 0.86-1.69 | 0.9 | 0.74-1.10
AbuSamah | 2018 | TUG | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 305 | 67.55 | 5.5 | 171 | 56.1 | 1 ≥ faller | NA | NA | 11 | ≥ | s | 19 | 62 | 178 | 46 | 0.2346 | NA | 0.7928 | NA | 1.13 | 0.71-1.83 | 0.97 | 0.84-1.11
Alexandre | 2012 | TUG | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 60 | 66.4613 | 4.8577 | 31 | 51.6 | 1 ≥ faller | 0.68 | 0.54-0.83 | 12.47 | ≥ | s | 14 | 5 | 27 | 14 | 0.737 | NA | 0.658 | NA | 2.16 | 1.31-3.57 | 0.4 | 0.18-0.88
Alexandre | 2012 | TUG | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 60 | 66.4613 | 4.8577 | 31 | 51.6 | 1 ≥ faller | NA | NA | 13 | ≥ | s | 10 | 9 | 29 | 12 | 0.526 | NA | 0.707 | NA | 1.8 | 0.95-3.41 | 0.67 | 0.40-1.12
Applebaum | 2017 | TUG | Nursing home | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 53 | 91 | 4 | 4 | 8 | 1 ≥ faller | 0.57 | 0.4-0.73 | 14.2 | not stated | s | 31 | 1 | 3 | 18 | 0.97 | NA | 0.15 | NA | 1.1412 | NA | 0.2 | NA
Arnold | 2007 | TUG FAST | Community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 105 | 74.4 | 6.2 | 77 | 73 | 1 ≥ faller | 0.58 | 0.47-0.70 | 10 | not stated | s | 35 | 13 | 20 | 37 | 0.73 | NA | 0.35 | NA | 1.1231 | NA | 0.77143 | .
Arnold | 2007 | TUG FAST | Community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 105 | 74.4 | 6.2 | 77 | 73 | 1 ≥ faller | 0.58 | 0.47-0.70 | 11 | not stated | s | 32 | 16 | 31 | 26 | 0.67 | NA | 0.55 | NA | 1.4889 | NA | 0.6
Arnold | 2007 | TUG FAST | Community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 105 | 74.4 | 6.2 | 77 | 73 | 1 ≥ faller | 0.58 | 0.47-0.70 | 12 | not stated | s | 21 | 27 | 40 | 17 | 0.44 | NA | 0.7 | NA | 1.4667 | NA | 0.8
Arnold | 2007 | TUG FAST | Community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 105 | 74.4 | 6.2 | 77 | 73 | 1 ≥ faller | 0.58 | 0.47-0.70 | 13 | not stated | s | 16 | 32 | 42 | 15 | 0.33 | NA | 0.74 | NA | 1.2692 | NA | 0.90541
Arnold | 2007 | TUG FAST | Community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 105 | 74.4 | 6.2 | 77 | 73 | 1 ≥ faller | 0.58 | 0.47-0.70 | 14 | not stated | s | 13 | 35 | 44 | 13 | 0.27 | NA | 0.77 | NA | 1.1739 | NA | 0.94805
Chantanachai | 2014 | TUG | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 161 | 70.6956 | 6.4765 | 130 | 81.37 | 1 ≥ faller | 0.62 | 0.59-0.76 | 10.5 | unclear | s | 37 | 13 | 64 | 47 | 0.74 | NA | 0.58 | NA | 3.87 | NA | 0.451 | NA
Chow | 2018 | TUG | Hospitalized | Prospective | 2 | 1 | 3 | 1 | 1 | 1 | 3 | - | 192 | 74.4 | 7.4 | 111 | 81 | 1 ≥ faller | 0.54 | NA | 12 | ≥ | s | 36 | 15 | 40 | 101 | 0.706 | NA | 0.284 | NA | 0.98 | NA | 1.04 | NA
Criter | 2016 | TUG | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 3 | 1 | ? | 30 | 77.2 | 11.2 | 21 | 70 | 1 ≥ faller | NA | NA | 13 | > | s | 6 | 6 | 15 | 3 | 0.5 | NA | 0.833 | NA | 3 | NA | 0.6 | NA
Criter | 2016 | TUG | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 3 | 1 | ? | 30 | 77.2 | 11.2 | 21 | 70 | 1 ≥ faller | NA | NA | 12 | > | s | 10 | 2 | 11 | 7 | 0.833 | NA | 0.611 | NA | 2.1414 | NA | 0.27332 | NA
Criter | 2017 | TUG | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 63 | 72.925 | 7.4443 | 20 | 55.5 | 1 ≥ faller | 0.62 | NA | 12 | ≥ | s | 15 | 10 | 7 | 4 | 0.6 | NA | 0.636 | NA | 1.65 | NA | 0.63 | NA
Criter | 2017 | TUG | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 63 | 70.3593 | 5.3763 | 18 | 66.6 | 1 ≥ faller | 0.68 | NA | 12 | ≥ | s | 2 | 5 | 16 | 4 | 0.286 | NA | 0.8 | NA | 1.43 | NA | 0.89 | NA
Gafner | 2018 | GRIP STRENGTH | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.649 | 0.497-0.802 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Gafner | 2018 | HIP STRENGTH ABDUCTORS | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.825 | 0.712-0.938 | 1.1 | ≤ | N/kg | 29 | 3 | 16 | 12 | 0.906 | 0.75-0.98 | 0.57 | 0.37-0.755 | 2.1 | 1.4-3.3 | 0.2 | 0.1-0.05
Gafner | 2018 | HIP STRENGTH ABDUCTORS RFG | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.787 | 0.667-0.906 | 8.5 | ≤ | N/kg/s | 29 | 3 | 13 | 15 | 0.906 | 0.75-0.99 | 0.464 | 0.275-0.661 | 1.7 | 1.2-2.4 | 0.2 | 0.1-0.6
Gafner | 2018 | HIP STRENGTH ADDUCTORS | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.773 | 0.648-0.897 | 1.3 | ≤ | N/kg | NA | NA | NA | NA | 0.906 | NA | 0.428 | NA | 1.6 | NA | 0.2 | NA
Gafner | 2018 | HIP STRENGTH ADDUCTORS RFG | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.706 | 0.568-0.844 | 6.2 | ≤ | N/kg/s | NA | NA | NA | NA | 0.906 | NA | 0.428 | NA | 1.6 | NA | 0.2 | NA
Gafner | 2018 | HIP STRENGTH EXTENSORS | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.61 | 0.460-0.761 | 1.7 | ≤ | N/kg | NA | NA | NA | NA | 0.9 | NA | 0.185 | NA | 1.1 | NA | 0.5 | NA
Gafner | 2018 | HIP STRENGTH EXTENSORS RFG | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.558 | 0.404-0.712 | 10.7 | ≤ | N/kg/s | NA | NA | NA | NA | 0.9 | NA | 0.148 | NA | 1.1 | NA | 0.7 | NA
Gafner | 2018 | HIP STRENGTH EXTERNAL ROTATORS | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.741 | 0.610-0.871 | 0.9 | ≤ | N/kg | NA | NA | NA | NA | 0.9 | NA | 0.321 | NA | 1.3 | NA | 0.3 | NA
Gafner | 2018 | HIP STRENGTH EXTERNAL ROTATORS RFG | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.651 | 0.506-0.797 | 5.7 | ≤ | N/kg/s | NA | NA | NA | NA | 0.9 | NA | 0.179 | NA | 1.1 | NA | 0.6 | NA
Gafner | 2018 | HIP STRENGTH FLEXORS | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.755 | 0.628-0.882 | 1.9 | ≤ | N/kg | NA | NA | NA | NA | 0.906 | NA | 0.5 | NA | 1.8 | NA | 0.2 | NA
Gafner | 2018 | HIP STRENGTH FLEXORS RFG | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.678 | 0.536-0.820 | 14.5 | ≤ | N/kg/s | NA | NA | NA | NA | 0.906 | NA | 0.321 | NA | 1.3 | NA | 0.3 | NA
Gafner | 2018 | HIP STRENGTH INTERNAL ROTATORS | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.576 | 0.422-0.730 | 1.4 | ≤ | N/kg | NA | NA | NA | NA | 0.9 | NA | 0.25 | NA | 1.2 | NA | 0.4 | NA
Gafner | 2018 | HIP STRENGTH INTERNAL ROTATORS RFG | Hospitalized and community-dwelling | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 56 | 82 | 6.6 | 38 | 63.3 | 1 ≥ faller | 0.617 | 0.467-0.766 | 6.4 | ≤ | N/kg/s | NA | NA | NA | NA | 0.9 | NA | 0.25 | NA | 1.2 | NA | 0.4 | NA
Greene | 2010 | BBS | Community-dwelling | Retrospective | 3 | 2 | 3 | 1 | 1 | 1 | 1 | - | 349 | 72.4 | 7.4 | 246 | 70.5 | 1 ≥ faller | 0.69 | NA | not mentionned | not mentionned | s | 120 | 87 | 91 | 51 | 0.578 | NA | 0.642 | NA | 1.6145 | NA | 0.65732 | NA
Greene | 2010 | TUG | Community-dwelling | Retrospective | 3 | 2 | 3 | 1 | 1 | 1 | 1 | - | 349 | 72.4 | 7.4 | 246 | 70.5 | 1 ≥ faller | 0.66 | NA | not mentionned | not mentionned | s | 120 | 87 | 92 | 50 | 0.58 | NA | 0.648 | NA | 1.6477 | NA | 0.64815 | NA
Hars | 2018 | SIMPLIFIED POMA | Hospitalized | Retrospective | 1 | 3 | 1 | 1 | 1 | 1 | 1 | - | 524 | 85 | 6.9 | 545 | 67.5 | 1 ≥ faller | 0.58 | NA | 2 | ≥ | points | 283 | 117 | 57 | 67 | 0.71 | NA | 0.46 | NA | 1.314 | NA | 0.63587 | NA
Hars | 2018 | SPPB | Hospitalized | Retrospective | 1 | 3 | 1 | 1 | 1 | 1 | 1 | - | 678 | 85 | 6.9 | 545 | 67.5 | 1 ≥ faller | 0.57 | NA | 5 | < | points | 357 | 167 | 71 | 83 | 0.68 | NA | 0.46 | NA | 1.2617 | NA | 0.69283 | NA
Hars | 2018 | TUG | Hospitalized | Retrospective | 1 | 3 | 1 | 1 | 1 | 1 | 1 | - | 525 | 85 | 6.9 | 545 | 67.5 | 1 ≥ faller | 0.55 | NA | 29.5 | > | s | 164 | 234 | 88 | 39 | 0.41 | NA | 0.69 | NA | 1.3351 | NA | 0.85209 | NA
Hofheinz | 2016 | TUG COG FAST | Community-dwelling | Prospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 113 | 72.2 | 6.8 | 94 | 78 | 1 ≥ faller | 0.65 | 0.55-0.76 | 8.8 | ≤ | s | 31 | 6 | 34 | 42 | 0.84 | 0.72-0.96 | 0.45 | 0.34-0.55 | 1.5273 | NA | 0.35556 | NA
Hofheinz | 2016 | TUG COG FAST | Community-dwelling | Prospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 113 | 72.2 | 6.8 | 94 | 78 | 1 ≥ faller | 0.65 | 0.55-0.76 | 9 | ≤ | s | 26 | 11 | 39 | 37 | 0.7 | 0.56-0.85 | 0.51 | 0.40-0.61 | 1.4286 | NA | 0.58824 | NA
Hofheinz | 2016 | TUG COG FAST | Community-dwelling | Prospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 113 | 72.2 | 6.8 | 94 | 78 | 1 ≥ faller | 0.65 | 0.55-0.76 | 9.4 | ≤ | s | 22 | 15 | 41 | 35 | 0.59 | 0.44-0.75 | 0.54 | 0.43-0.65 | 1.2826 | NA | 0.75926 | NA
Hofheinz | 2016 | TUG COG FAST | Community-dwelling | Prospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 113 | 72.2 | 6.8 | 94 | 78 | 1 ≥ faller | 0.65 | 0.55-0.76 | 9.9 | ≤ | s | 21 | 16 | 53 | 23 | 0.57 | 0.41-0.73 | 0.7 | 0.60-0.8 | 1.9 | NA | 0.61429 | NA
Hofheinz | 2016 | TUG COG FAST | Community-dwelling | Prospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | - | 113 | 72.2 | 6.8 | 94 | 78 | 1 ≥ faller | 0.65 | 0.55-0.76 | 10.3 | ≤ | s | 18 | 19 | 59 | 17 | 0.49 | 0.33-0.65 | 0.77 | 0.68-0.86 | 2.1304 | NA | 0.66234 | NA
Ibrahim | 2017 | TUG | Community-dwelling | Retrospective | 3 | 2 | 3 | 1 | 1 | 1 | 1 | - | 1086 | 69.6 | 5.6 | 553 | 50.9 | 1 ≥ faller | 0.57 | 0.52-0.62 | 11.18 | ≥ | s | 98 | 63 | 488 | 437 | 0.6087 | NA | 0.52757 | NA | 1.2884 | NA | 0.74171 | NA
Kojima | 2015 | TUG | Community-dwelling | Retrospective | 3 | 2 | 3 | 1 | 1 | 1 | 1 | - | 259 | 72.6 | 5.9 | 164 | 63.3 | 1 ≥ faller | 0.58 | 0.49-0.67 | 12.6 | ≥ | s | 18 | 41 | 179 | 21 | 0.305 | NA | 0.895 | NA | 2.9048 | NA | 0.77654 | NA
Marques | 2016 | BBS | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | + | 122 | 75.9 | 8.9 | 86 | 70.5 | 1 ≥ faller | 0.76 | 0.66-0.86 | 48.5 | not stated | points | 24 | 10 | 67 | 21 | 0.71 | NA | 0.76 | NA | 2.92 | NA | 0.39 | NA
Marques | 2016 | BEST | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | + | 122 | 75.9 | 8.9 | 86 | 70.5 | 1 ≥ faller | 0.78 | 0.68-0.87 | 82 | not stated | points | 25 | 9 | 63 | 25 | 0.74 | NA | 0.72 | NA | 2.59 | NA | 0.37 | NA
Marques | 2016 | BRIEF BEST | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | + | 122 | 75.9 | 8.9 | 86 | 70.5 | 1 ≥ faller | 0.76 | 0.66-0.86 | 12.5 | not stated | points | 25 | 9 | 62 | 26 | 0.74 | NA | 0.71 | NA | 2.49 | NA | 0.38 | NA
Marques | 2016 | MINI BEST | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | + | 122 | 75.9 | 8.9 | 86 | 70.5 | 1 ≥ faller | 0.71 | 0.60-0.82 | 19.5 | not stated | points | 25 | 9 | 59 | 29 | 0.74 | NA | 0.67 | NA | 2.23 | NA | 0.4 | NA
Middleton | 2016 | GAIT SPEED | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 217 | 82 | 65-93 | 153 | 70.5 | 1 ≥ faller | 0.69 | 0.62- 0.76 | 0.76 | < | m/s | 70 | 37 | 78 | 32 | 0.654 | NA | 0.709 | NA | 2.25 | NA | 0.49 | NA
Middleton | 2016 | GAIT SPEED MAX | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | + | 217 | 83 | 65-94 | 153 | 70.5 | 1 ≥ faller | 0.71 | 0.64-0.77 | 1.13 | < | m/s | 70 | 37 | 78 | 32 | 0.766 | NA | 0.6 | NA | 1.92 | NA | 0.39 | NA
Muir | 2008 | BBS | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 187 | 79.47 | 5.83 | 65 | 35 | 1 ≥ faller | 0.59 | NA | 45 | ≤ | points | 20 | 60 | 70 | 37 | 0.25 | 0.16-0.36 | 0.87 | 0.79-0.92 | 1.9231 | NA | 0.86207 | NA
Muir | 2008 | BBS | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | - | 187 | 79.47 | 5.83 | 65 | 35 | 1 ≥ faller | 0.59 | NA | 54 | ≤ | points | 49 | 31 | 34 | 73 | 0.61 | 0.50-0.72 | 0.53 | 0.43-0.63 | 1.2979 | NA | 0.73585 | NA
Murphy | 2003 | FRT | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 45 | 73.2 | 7.9 | 33 | 73.3 | 1 ≥ faller | NA | NA | 20.32 | not stated | cm | 8 | 3 | 30 | 4 | 0.73 | NA | 0.88 | NA | 6.0833 | NA | 0.30682 | NA
Murphy | 2003 | POMA BALANCE | Community-dwelling | Prospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 45 | 73.2 | 7.9 | 33 | 73.3 | 1 ≥ faller | NA | NA | 12 | not stated | points (on 12/16) | 6 | 5 | 33 | 1 | 0.55 | NA | 0.97 | NA | 18.3333 | NA | 0.46392 | NA
Rose | 2002 | TUG FAST | Community-dwelling | Retrospective | 3 | 2 | 3 | 1 | 1 | 1 | 1 | ? | 134 | 78.1 | 6.5 | 112 | 83.6 | non-faller = 0 fall, faller ≥2 falls | NA | NA | 10 | ≥ | s | 45 | 18 | 63 | 8 | 0.71 | NA | 0.89 | NA | 6.4545 | NA | 0.32584 | NA
Rose | 2002 | TUG-8FT FAST | Community-dwelling | Retrospective | 3 | 2 | 3 | 1 | 1 | 1 | 1 | ? | 134 | 78.1 | 6.5 | 112 | 83.6 | non-faller = 0 fall, faller ≥2 falls | NA | NA | 8.5 | ≥ | s | 49 | 14 | 61 | 10 | 0.78 | NA | 0.86 | NA | 5.5714 | NA | 0.25581 | NA
Santos | 2011 | BBS | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 91 | 68.05 | 7.1 | 72 | 79.2 | not described (≥1 faller) | NA | NA | 45 | ≤ | points | 0 | 20 | 71 | 0 | 0 | NA | 1 | NA | 1 | NA | 0 | NA
Santos | 2011 | BBS | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 91 | 68.05 | 7.1 | 72 | 79.2 | 1 ≥ faller | NA | NA | 47 | ≤ | points | 0 | 20 | 71 | 0 | 0 | NA | 1 | NA | 1 | NA | 0 | NA
Santos | 2011 | BBS | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 91 | 68.05 | 7.1 | 72 | 79.2 | 1 ≥ faller | NA | NA | 49 | ≤ | points | 1 | 19 | 70 | 1 | 0.05 | NA | 0.99 | NA | 1.04 | NA | 0.2 | NA
Santos | 2011 | BBS | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 91 | 68.05 | 7.1 | 72 | 79.2 | 1 ≥ faller | NA | NA | 51 | ≤ | points | 2 | 18 | 67 | 4 | 0.1 | NA | 0.94 | NA | 1.04 | NA | 0.6 | NA
Santos | 2011 | BBS | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 91 | 68.05 | 7.1 | 72 | 79.2 | 1 ≥ faller | NA | NA | 53 | ≤ | points | 3 | 17 | 59 | 12 | 0.15 | NA | 0.83 | NA | 0.88 | NA | 1.02 | NA
Shimada | 2009 | FRT | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 455 | 80.5 | 7.2 | 310 | 68.1 | 1 ≥ faller | NA | NA | 18 | ≤ | cm | 47 | 52 | 210 | 146 | 0.47 | NA | 0.59 | NA | 1.1463 | NA | 0.89831 | NA
Shimada | 2009 | GAIT SPEED | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 455 | 80.5 | 7.2 | 310 | 68.1 | 1 ≥ faller | NA | NA | 0.7 | ≤ | m/s | 55 | 44 | 210 | 146 | 0.56 | NA | 0.59 | NA | 1.3659 | NA | 0.74576 | NA
Shimada | 2009 | GAIT SPEED MAX | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 455 | 80.5 | 7.2 | 310 | 68.1 | 1 ≥ faller | NA | NA | 1 | ≤ | m/s | 57 | 42 | 206 | 150 | 0.58 | NA | 0.58 | NA | 1.381 | NA | 0.72414 | NA
Shimada | 2009 | GRIP STRENGTH | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 455 | 80.5 | 7.2 | 310 | 68.1 | 1 ≥ faller | NA | NA | 17 | ≤ | kg | 54 | 45 | 196 | 160 | 0.55 | NA | 0.55 | NA | 1.2222 | NA | 0.81818 | NA
Shimada | 2009 | ONE LEG STANCE | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 455 | 80.5 | 7.2 | 310 | 68.1 | 1 ≥ faller | NA | NA | 3 | ≤ | s | 50 | 49 | 217 | 139 | 0.51 | NA | 0.61 | NA | 1.3077 | NA | 0.80328 | NA
Shimada | 2009 | TUG | Community-dwelling | Retrospective | 3 | 3 | 3 | 1 | 1 | 1 | 1 | ? | 455 | 80.5 | 7.2 | 310 | 68.1 | 1 ≥ faller | NA | NA | 16 | ≥ | s | 52 | 47 | 224 | 132 | 0.53 | NA | 0.63 | NA | 1.4324 | NA | 0.74603 | NA
Shumway-Cook | 2000 | TUG COG FAST | Community-dwelling | Retrospective | 3 | 2 | 1 | 1 | 1 | 1 | 1 | ? | 30 | 82.3 | 7.1936 | 18 | 60 | faller ≥ 2 fall | NA | NA | 14.5 | ≥ | s | 13 | 2 | 14 | 1 | 0.86 | NA | 0.93333 | NA | 12.9 | NA | 0.15
Shumway-Cook | 2000 | TUG FAST | Community-dwelling | Retrospective | 3 | 2 | 1 | 1 | 1 | 1 | 1 | ? | 30 | 82.3 | 7.1936 | 18 | 60 | faller ≥ 2 fall, non-faller = 0falls | NA | NA | 13.5 | ≥ | s | 12 | 3 | 15 | 0 | 0.8 | NA | 1 | NA | ERRER as Sp =1 | NA | 0.2
Shumway-Cook | 2000 | TUG MAN FAST | Community-dwelling | Retrospective | 3 | 2 | 1 | 1 | 1 | 1 | 1 | ? | 25 | 82.3 | 7.1936 | 18 | 60 | faller ≥ 2 fall, non-faller = 0falls | NA | NA | 15 | ≥ | s | 12 | 3 | 14 | 1 | 0.8 | NA | 0.93333 | NA | 12 | NA | 0.21429
Trueblood | 2001 | POMA BALANCE | Community-dwelling | Prospective | 3 | 1 | 1 | 1 | 1 | 1 | 1 | ? | 180 | 77.9 | 7.26 | 143 | 79.4 | 1 ≥ faller | NA | NA | 12 | not stated | points | 6 | 24 | 143 | 7 | 0.21 | NA | 0.95 | NA | 4.2 | NA | 0.83158 | NA
Trueblood | 2001 | POMA GAIT | Community-dwelling | Prospective | 3 | 1 | 1 | 1 | 1 | 1 | 1 | ? | 180 | 77.9 | 7.26 | 143 | 79.4 | 1 ≥ faller | NA | NA | 8 | not stated | points | 7 | 23 | 137 | 13 | 0.24 | NA | 0.91 | NA | 2.6667 | NA | 0.83516 | NA
Trueblood | 2001 | TUG | Community-dwelling | Prospective | 3 | 1 | 1 | 1 | 1 | 1 | 1 | ? | 180 | 77.9 | 7.26 | 143 | 79.4 | 1 ≥ faller | NA | NA | 20 | not stated | s | 3 | 27 | 143 | 7 | 0.1 | NA | 0.95 | NA | 2 | NA | 0.94737 | NA
Viveiro | 2018 | BBS | Nursing home | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 49 | 77.8 | 7.2 | 30 | 61.2 | 1 ≥ faller | 0.762 | 0.762-0.897 | 48 | not stated | points | 10 | 8 | 29 | 2 | 0.548 | 0.360-0.548 | 0.944 | 0.727-0.998 | 9.871 | 1.431-68.097 | 0.478 | 0.319-0.716
Viveiro | 2018 | BEST | Nursing home | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 49 | 77.8 | 7.2 | 30 | 61.2 | 1 ≥ faller | 0.749 | 0.612-0.886 | 57 | not stated | points | 11 | 7 | 26 | 5 | 0.613 | 0.422-0.782 | 0.833 | 0.586-0.964 | 3.677 | 1.260-10.720 | 0.464 | 0.285-0.757
Viveiro | 2018 | BRIEF BEST | Nursing home | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 49 | 77.8 | 7.2 | 30 | 61.2 | 1 ≥ faller | 0.748 | 0.611-0.885 | 10 | not stated | points | 10 | 8 | 29 | 2 | 0.581 | 0.391-0.754 | 0.944 | 0.727-0.998 | 10.452 | 1.519-71.869 | 0.444 | 0.289-0.681
Viveiro | 2018 | MINI BEST | Nursing home | Retrospective | 1 | 3 | 3 | 1 | 1 | 1 | 1 | + | 49 | 77.8 | 7.2 | 30 | 61.2 | 1 ≥ faller | 0.712 | 0.565-0.860 | 10 | not stated | points | 13 | 5 | 24 | 7 | 0.709 | 0.519-0.857 | 0.778 | 0.524-0.936 | 3.193 | 1.307-7.801 | 0.373 | 0.204-0.682
Yingyongyudha | 2016 | BBS | Community-dwelling | Retrospective | 3 | 3 | 1 | 1 | 1 | 1 | 1 | - | 200 | 70.25 | 7.0369 | 126 | 63 | 1 ≥ faller | 0.69 | NA | 51 | not stated | points | 77 | 23 | 42 | 58 | 0.77 | 0.57-0.85 | 0.42 | 0.38-0.57 | 1.3276 |  | 0.54762
Yingyongyudha | 2016 | BEST | Community-dwelling | Retrospective | 3 | 3 | 1 | 1 | 1 | 1 | 1 | + | 200 | 70.25 | 7.0369 | 126 | 63 | 1 ≥ faller | 0.74 | NA | 66 | not stated | points | 76 | 24 | 50 | 50 | 0.76 | 0.67-0.83 | 0.5 | 0.40-0.60 | 1.52 |  | 0.48
Yingyongyudha | 2016 | MINI BEST | Community-dwelling | Retrospective | 3 | 3 | 1 | 1 | 1 | 1 | 1 | + | 200 | 70.25 | 7.0369 | 126 | 63 | 1 ≥ faller | 0.84 | NA | 16 | not stated | points | 85 | 15 | 75 | 25 | 0.85 | 0.77-0.9 | 0.75 | 0.66-0.83 | 3.4 |  | 0.2
Yingyongyudha | 2016 | TUG | Community-dwelling | Retrospective | 3 | 3 | 1 | 1 | 1 | 1 | 1 | - | 200 | 70.25 | 7.0369 | 126 | 63 | 1 ≥ faller | 0.32 | NA | 8 | not stated | s | 40 | 60 | 34 | 66 | 0.4 | 0.31-0.49 | 0.34 | 0.26-0.44 | 0.60606 |  | 1.7647