SUPPLIMENTARY DATA

Suppl. Table 1: The sensitivity and specificity of clinical performance using VIDAS® SARS‑CoV‑2 IgG and IgM assay on a VIDAS® instrument

| No. of days after PCR positive result | Number of samples | Number of VIDAS® positive results | Positive percent agreement | 95% Confidence interval |
| --- | --- | --- | --- | --- |
| Sensitivity |  |  |  |  |
| Sensitivity IgG ≥ 15 days | 40 | 39 | 97.5% | 88.4-99.8 |
| Sensitivity IgM ≥ 15 days | 40 | 38 | 95.0% | 87.5-99.1 |
| Specificity |  |  |  |  |
| Specificity IgG ≥ 15 days | 40 | 40 | 100.0% | 98.9-100 |
| Specificity IgM ≥ 15 days | 40 | 39 | 95.5% | 97.0-99.6 |

Suppl. Table 2: Positive and negative predictive values to the disease in the population.

| Number of Days Post Symptoms Onset | PPV | NPV |
| --- | --- | --- |
| IgG, ≥ 7 days (95% CI) | 93.0% (65.6-98.7) | 99.4% (98.9-99.8) |
| IgM, ≥ 7 days (95% CI) | 92.5% (65.2-98.9) | 99.5% (99.0-99.7) |

*PPV denotes a Positive Predictive Value, Negative Predictive Value, Confidence interval. The calculation was done with the assumption of 5% prevalence.