## Table S1
Supplementary Table S1: EBE Contingency Tables
Dreem
|  | Wake | Sleep
Actiwatch | Wake | 2907 | 4408
| Sleep | 5362 | 86294
Dreem
|  | Wake | Sleep
Fatigue Science Readiband | Wake | 3286 | 5371
| Sleep | 4836 | 84301
Dreem
|  | Wake | Light | Deep | REM
Fitbit Inspire HR | Wake | 3215 | 2898 | 527 | 2531
| Light | 2640 | 28804 | 7203 | 11926
| Deep | 287 | 4490 | 8699 | 973
| REM | 1011 | 4221 | 618 | 13619
Dreem
|  | Wake | Light | Deep | REM
Oura Ring | Wake | 3117 | 2487 | 235 | 2236
| Light | 2542 | 25444 | 4250 | 13183
| Deep | 1184 | 9723 | 13025 | 2570
| REM | 747 | 4289 | 562 | 11440
Dreem
|  | Wake | Light | Deep | REM
Polar Vantage V Titan | Wake | 1896 | 1606 | 320 | 1637
| Light | 2262 | 22858 | 7657 | 13253
| Deep | 567 | 9030 | 7517 | 3182
| REM | 736 | 5385 | 1363 | 10258
Notes: EBE contingency tables for all device epochs paired in comparison to Dreem headband, for all available sleep-wake and sleep stage classifications.
Abbreviations: EBE, epoch by epoch; REM, rapid eye movement.

## Table S2
Supplementary Table S2: Sleep-Wake Summary Agreement (Expanded Results)
Outcome | Device | n | Device Mean (SD) | Reference Mean (SD) | CI Type | CI Level | Proportional Bias | Log Transform | Normality | Heterosce-dasticity | R-squared | b1 p-value | Bias (SD) | Bias CI | LOA Lower | LOA Lower CI | LOA Upper | LOA Upper CI
TIB | Fatigue Science Readiband | 112 | 459.04 (85.24) | 446.41 (91.05) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0.01 | 0.28 | 12.63 (60.59) | [1.29, 23.98] | bias - 2.46(-38.96 + 0.14 x mean) | c0 = [-94.35, 16.42], c1 = [0.02, 0.26] | bias + 2.46(-38.96 + 0.14 x mean) | c0 = [-94.35, 16.42], c1 = [0.02, 0.26]
TIB | Fitbit Inspire HR | 106 | 459.84 (78.58) | 452.65 (87.09) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0.02 | 0.18 | 7.19 (70.92) | [-6.47, 20.85] | bias - 2.46(-72.98 + 0.22 x mean) | c0 = [-147.14, 1.19], c1 = [0.06, 0.38] | bias + 2.46(-72.98 + 0.22 x mean) | c0 = [-147.14, 1.19], c1 = [0.06, 0.38]
TIB | Oura Ring | 111 | 460.02 (90.33) | 448.85 (87.30) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0 | 0.64 | 11.17 (73.56) | [-2.67, 25.01] | bias - 2.46(-128.01 + 0.35 x mean) | c0 = [-193.92, -62.09], c1 = [0.2, 0.49] | bias + 2.46(-128.01 + 0.35 x mean) | c0 = [-193.92, -62.09], c1 = [0.2, 0.49]
TIB | Polar Vantage V Titan | 103 | 452.00 (75.59) | 454.99 (83.93) | classic | 0.95 | FALSE | FALSE | FALSE | FALSE | 0.01 | 0.23 | -2.99 (80.39) | [-18.7, 12.72] | -160.55 | [-187.77, -133.34] | 154.57 | [127.36, 181.79]
TST | Actiwatch | 113 | 406.14 (77.39) | 401.34 (82.63) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.05 | 0.01 | 31.76 + -0.07 x mean | b0 = [10.02, 53.5], b1 = [-0.12, -0.01] | bias - 2.46(44.23 + -0.07 x mean) | c0 = [28.42, 60.04], c1 = [-0.11, -0.04] | bias + 2.46(44.23 + -0.07 x mean) | c0 = [28.42, 60.04], c1 = [-0.11, -0.04]
TST | Fatigue Science Readiband | 112 | 406.03 (89.36) | 401.04 (82.94) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0.03 | 0.09 | 4.99 (41.6) | [-2.8, 12.78] | bias - 2.46(65.73 + -0.09 x mean) | c0 = [38.35, 93.11], c1 = [-0.16, -0.03] | bias + 2.46(65.73 + -0.09 x mean) | c0 = [38.35, 93.11], c1 = [-0.16, -0.03]
TST | Fitbit Inspire HR | 106 | 406.44 (70.06) | 406.62 (78.77) | classic | 0.95 | TRUE | FALSE | FALSE | FALSE | 0.05 | 0.02 | 51 + -0.13 x mean | b0 = [7.15, 94.85], b1 = [-0.23, -0.02] | bias - 76.86 | bias - [60.39, 97.87] | bias + 76.86 | bias + [60.39, 97.87]
TST | Oura Ring | 111 | 412.50 (77.54) | 403.08 (78.75) | classic | 0.95 | FALSE | FALSE | FALSE | FALSE | 0 | 0.74 | 9.42 (39.21) | [2.05, 16.8] | -67.43 | [-80.21, -54.66] | 86.28 | [73.5, 99.05]
TST | Polar Vantage V Titan | 103 | 418.47 (73.99) | 411.60 (72.08) | classic | 0.95 | FALSE | FALSE | FALSE | FALSE | 0 | 0.66 | 6.86 (46.32) | [-2.19, 15.92] | -83.93 | [-99.61, -68.25] | 97.66 | [81.98, 113.34]
SE | Actiwatch | 113 | 92.38 (3.18) | 91.24 (6.93) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.47 | 0 | 93.2 + -1 x mean | b0 = [74.71, 111.69], b1 = [-1.2, -0.8] | bias - 2.46(47.29 + -0.48 x mean) | c0 = [36.6, 57.98], c1 = [-0.6, -0.36] | bias + 2.46(47.29 + -0.48 x mean) | c0 = [36.6, 57.98], c1 = [-0.6, -0.36]
SE | Fatigue Science Readiband | 112 | 88.04 (7.52) | 91.27 (6.96) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0.01 | 0.4 | -3.22 (9.36) | [-4.98, -1.47] | bias - 2.46(83.98 + -0.87 x mean) | c0 = [68.11, 99.85], c1 = [-1.05, -0.69] | bias + 2.46(83.98 + -0.87 x mean) | c0 = [68.11, 99.85], c1 = [-1.05, -0.69]
SE | Fitbit Inspire HR | 106 | 94.58 (2.88) | 91.32 (6.98) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.53 | 0 | 108.9 + -1.14 x mean | b0 = [89.69, 128.11], b1 = [-1.34, -0.93] | bias - 2.46(41.7 + -0.41 x mean) | c0 = [31.66, 51.75], c1 = [-0.52, -0.3] | bias + 2.46(41.7 + -0.41 x mean) | c0 = [31.66, 51.75], c1 = [-0.52, -0.3]
SE | Oura Ring | 111 | 89.83 (4.87) | 91.24 (6.98) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.12 | 0 | 52.79 + -0.6 x mean | b0 = [25.2, 80.38], b1 = [-0.9, -0.29] | bias - 2.46(73.29 + -0.75 x mean) | c0 = [58.4, 88.18], c1 = [-0.92, -0.59] | bias + 2.46(73.29 + -0.75 x mean) | c0 = [58.4, 88.18], c1 = [-0.92, -0.59]
SE | Polar Vantage V Titan | 103 | 92.47 (4.64) | 92.18 (4.63) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0 | 0.98 | 0.29 (5.17) | [-0.72, 1.3] | bias - 2.46(51.58 + -0.52 x mean) | c0 = [35.22, 67.94], c1 = [-0.7, -0.35] | bias + 2.46(51.58 + -0.52 x mean) | c0 = [35.22, 67.94], c1 = [-0.7, -0.35]
SOL | Actiwatch | 113 | 2.29 (1.73) | 8.53 (5.58) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.7 | 0 | 1.4 + -1.41 x mean | b0 = [0.3, 2.49], b1 = [-1.59, -1.24] | bias - 2.46(0.47 + 0.3 x mean) | c0 = [-0.2, 1.15], c1 = [0.19, 0.41] | bias + 2.46(0.47 + 0.3 x mean) | c0 = [-0.2, 1.15], c1 = [0.19, 0.41]
SOL | Fatigue Science Readiband | 112 | 18.83 (17.32) | 8.52 (5.60) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.66 | 0 | -10.68 + 1.54 x mean | b0 = [-14.13, -7.23], b1 = [1.33, 1.74] | bias - 2.46(2.7 + 0.36 x mean) | c0 = [0.68, 4.72], c1 = [0.24, 0.48] | bias + 2.46(2.7 + 0.36 x mean) | c0 = [0.68, 4.72], c1 = [0.24, 0.48]
SOL | Fitbit Inspire HR | 106 | 4.89 (3.35) | 8.64 (5.62) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.24 | 0 | 1.56 + -0.78 x mean | b0 = [-0.54, 3.65], b1 = [-1.06, -0.51] | bias - 2.46(0.99 + 0.44 x mean) | c0 = [-0.15, 2.13], c1 = [0.29, 0.58] | bias + 2.46(0.99 + 0.44 x mean) | c0 = [-0.15, 2.13], c1 = [0.29, 0.58]
SOL | Oura Ring | 111 | 7.84 (5.49) | 8.50 (5.61) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0 | 0.82 | -0.66 (7.56) | [-2.08, 0.77] | bias - 2.46(-0.43 + 0.74 x mean) | c0 = [-2.18, 1.33], c1 = [0.54, 0.93] | bias + 2.46(-0.43 + 0.74 x mean) | c0 = [-2.18, 1.33], c1 = [0.54, 0.93]
SOL | Polar Vantage V Titan | 103 | 0.57 (0.96) | 8.51 (5.42) | classic | 0.95 | TRUE | FALSE | FALSE | FALSE | 0.88 | 0 | 0.64 + -1.89 x mean | b0 = [-0.08, 1.36], b1 = [-2.02, -1.75] | bias - 3.7 | bias - [2.32, 5.25] | bias + 3.7 | bias + [2.32, 5.25]
WASO | Actiwatch | 113 | 30.23 (12.72) | 28.06 (22.46) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.29 | 0 | 25.09 + -0.79 x mean | b0 = [17.58, 32.6], b1 = [-1.02, -0.56] | bias - 2.46(-0.01 + 0.44 x mean) | c0 = [-4.49, 4.47], c1 = [0.3, 0.58] | bias + 2.46(-0.01 + 0.44 x mean) | c0 = [-4.49, 4.47], c1 = [0.3, 0.58]
WASO | Fatigue Science Readiband | 112 | 21.21 (23.79) | 27.86 (22.46) | classic | 0.95 | FALSE | FALSE | FALSE | TRUE | 0 | 0.54 | -6.66 (28.61) | [-12.01, -1.3] | bias - 2.46(-1.23 + 0.77 x mean) | c0 = [-6.77, 4.32], c1 = [0.59, 0.95] | bias + 2.46(-1.23 + 0.77 x mean) | c0 = [-6.77, 4.32], c1 = [0.59, 0.95]
WASO | Fitbit Inspire HR | 106 | 38.02 (13.14) | 28.06 (21.94) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.23 | 0 | 37.24 + -0.83 x mean | b0 = [26.68, 47.8], b1 = [-1.12, -0.53] | bias - 2.46(3.55 + 0.38 x mean) | c0 = [-2.49, 9.59], c1 = [0.21, 0.55] | bias + 2.46(3.55 + 0.38 x mean) | c0 = [-2.49, 9.59], c1 = [0.21, 0.55]
WASO | Oura Ring | 111 | 39.73 (31.99) | 28.36 (22.53) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.12 | 0 | -9.11 + 0.6 x mean | b0 = [-21.71, 3.49], b1 = [0.28, 0.92] | bias - 2.46(-16.99 + 1.08 x mean) | c0 = [-23.36, -10.62], c1 = [0.92, 1.24] | bias + 2.46(-16.99 + 1.08 x mean) | c0 = [-23.36, -10.62], c1 = [0.92, 1.24]
WASO | Polar Vantage V Titan | 103 | 25.84 (8.57) | 25.41 (17.47) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.38 | 0 | 27.67 + -1.06 x mean | b0 = [20.32, 35.02], b1 = [-1.33, -0.8] | bias - 2.46(-0.34 + 0.41 x mean) | c0 = [-4.83, 4.15], c1 = [0.25, 0.57] | bias + 2.46(-0.34 + 0.41 x mean) | c0 = [-4.83, 4.15], c1 = [0.25, 0.57]
Notes: Sleep-wake summary agreement between devices and reference. The sleep diary served as reference for TIB, and the Dreem headband served as reference for TST, SE, SOL, and WASO. All nights with available data for both the device and reference were included in analyses, with the total number of nights (n) indicated in each row. True/false outputs for proportional bias, normality, and heteroscedasticity columns indicate statistical significance at p<0.05. Bias is the mean difference between the device and reference. Regression equations are returned for bias and LOAs when proportional bias or heteroscesticity are significant, respectively. R-squared is the goodness of fit over the whole model. b1 is the slope coefficient of the mean bias line and a significant b1 p-value indicates difference from zero (and the presence of significant proportional bias).
Abbreviations: CI, confidence interval; LOA, limits of agreement; SD, standard deviation; SE, sleep efficiency; SOL, sleep onset latency; TIB, time in bed; TST, total sleep time; WASO, wake after sleep onset.

## Table S3
Supplementary Table S3: Sleep Stage Summary Agreement (Expanded Results)
Stage | Device | n | Device Mean (SD) | Reference Mean (SD) | CI Type | CI Level | Proportional Bias | Log Transform | Normality | Heterosce-dasticity | R-squared | b1 p-value | Bias (SD) | Bias CI | LOA Lower | LOA Lower CI | LOA Upper | LOA Upper CI
Light | Fitbit Inspire HR | 106 | 243.52 (52.96) | 189.36 (54.29) | classic | 0.95 | FALSE | FALSE | TRUE | FALSE | 0 | 0.76 | 54.16 (51.23) | [44.29, 64.03] | -46.25 | [-63.34, -29.16] | 154.58 | [137.49, 171.66]
Light | Oura Ring | 111 | 210.81 (65.96) | 189.00 (53.89) | classic | 0.95 | TRUE | FALSE | FALSE | FALSE | 0.05 | 0.01 | -31.18 + 0.27 x mean | b0 = [-74.98, 12.63], b1 = [0.05, 0.48] | bias - 114.37 | bias - [94.33, 137.45] | bias + 114.37 | bias + [94.33, 137.45]
Light | Polar Vantage V Titan | 103 | 226.07 (90.51) | 190.65 (52.89) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.28 | 0 | -114.33 + 0.72 x mean | b0 = [-163.9, -64.75], b1 = [0.49, 0.95] | bias - 2.46(98.08 + -0.21 x mean) | c0 = [67.62, 128.54], c1 = [-0.35, -0.07] | bias + 2.46(98.08 + -0.21 x mean) | c0 = [67.62, 128.54], c1 = [-0.35, -0.07]
Deep | Fitbit Inspire HR | 106 | 70.09 (21.91) | 80.09 (29.28) | classic | 0.95 | TRUE | FALSE | TRUE | FALSE | 0.08 | 0 | 29.02 + -0.52 x mean | b0 = [2.51, 55.53], b1 = [-0.86, -0.18] | bias - 65.73 | bias - [58.11, 74.12] | bias + 65.73 | bias + [58.11, 74.12]
Deep | Oura Ring | 111 | 124.09 (41.65) | 81.42 (29.17) | classic | 0.95 | TRUE | FALSE | TRUE | FALSE | 0.12 | 0 | -25.41 + 0.66 x mean | b0 = [-62.03, 11.21], b1 = [0.32, 1.01] | bias - 92.18 | bias - [81.1, 104.28] | bias + 92.18 | bias + [81.1, 104.28]
Deep | Polar Vantage V Titan | 103 | 104.48 (92.12) | 82.77 (28.59) | classic | 0.95 | TRUE | FALSE | FALSE | FALSE | 0.68 | 0 | -122.68 + 1.54 x mean | b0 = [-144.67, -100.69], b1 = [1.33, 1.75] | bias - 102.75 | bias - [93.86, 113.87] | bias + 102.75 | bias + [93.86, 113.87]
REM | Fitbit Inspire HR | 106 | 92.83 (30.22) | 137.17 (54.78) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.34 | 0 | 43.39 + -0.76 x mean | b0 = [18.34, 68.44], b1 = [-0.97, -0.56] | bias - 2.46(7.66 + 0.2 x mean) | c0 = [-7.33, 22.66], c1 = [0.08, 0.32] | bias + 2.46(7.66 + 0.2 x mean) | c0 = [-7.33, 22.66], c1 = [0.08, 0.32]
REM | Oura Ring | 111 | 77.49 (34.79) | 132.67 (52.60) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.18 | 0 | 5.18 + -0.57 x mean | b0 = [-21.03, 31.39], b1 = [-0.81, -0.34] | bias - 2.46(15.15 + 0.19 x mean) | c0 = [-1.37, 31.67], c1 = [0.04, 0.33] | bias + 2.46(15.15 + 0.19 x mean) | c0 = [-1.37, 31.67], c1 = [0.04, 0.33]
REM | Polar Vantage V Titan | 103 | 87.75 (40.67) | 138.19 (54.39) | classic | 0.95 | TRUE | FALSE | FALSE | FALSE | 0.09 | 0 | -3.83 + -0.41 x mean | b0 = [-34.34, 26.68], b1 = [-0.67, -0.16] | bias - 100.61 | bias - [86.7, 119.08] | bias + 100.61 | bias + [86.7, 119.08]
Notes: Sleep stage summary agreement between devices and Dreem reference. Results are shown for all devices that output sleep stage classifications. See Supplementary Table S2 notes for additional table details.
Abbreviations: CI, confidence interval; LOA, limits of agreement; REM, rapid eye movement; SD, standard deviation.

## Table S4
Supplementary Table S4: Actiwatch Sleep-Wake Summary Agreement with Low and High Threshold Settings
Outcome | Device | n | Device Mean (SD) | Reference Mean (SD) | CI Type | CI Level | Proportional Bias | Log Transform | Normality | Heterosce-dasticity | R-squared | b1 p-value | Bias (SD) | Bias CI | LOA Lower | LOA Lower CI | LOA Upper | LOA Upper CI
TST | Actiwatch (Low Threshold) | 113 | 388.27 (76.46) | 401.34 (82.63) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.06 | 0.01 | 18.26 + -0.08 x mean | b0 = [-4.82, 41.33], b1 = [-0.14, -0.02] | bias - 2.46(42.87 + -0.07 x mean) | c0 = [26.58, 59.16], c1 = [-0.11, -0.03] | bias + 2.46(42.87 + -0.07 x mean) | c0 = [26.58, 59.16], c1 = [-0.11, -0.03]
TST | Actiwatch (High Threshold) | 113 | 417.21 (77.85) | 401.34 (82.63) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.05 | 0.02 | 40.67 + -0.06 x mean | b0 = [20.09, 61.25], b1 = [-0.11, -0.01] | bias - 2.46(42.87 + -0.07 x mean) | c0 = [28.36, 57.38], c1 = [-0.11, -0.04] | bias + 2.46(42.87 + -0.07 x mean) | c0 = [28.36, 57.38], c1 = [-0.11, -0.04]
SE | Actiwatch (Low Threshold) | 113 | 88.43 (4.31) | 91.24 (6.93) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.22 | 0 | 57.53 + -0.67 x mean | b0 = [35.92, 79.15], b1 = [-0.91, -0.43] | bias - 2.46(54.13 + -0.56 x mean) | c0 = [41.91, 66.35], c1 = [-0.69, -0.42] | bias + 2.46(54.13 + -0.56 x mean) | c0 = [41.91, 66.35], c1 = [-0.69, -0.42]
SE | Actiwatch (High Threshold) | 113 | 95.15 (2.28) | 91.24 (6.93) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.7 | 0 | 121.48 + -1.26 x mean | b0 = [107.02, 135.94], b1 = [-1.42, -1.11] | bias - 2.46(33.18 + -0.33 x mean) | c0 = [24.65, 41.7], c1 = [-0.42, -0.24] | bias + 2.46(33.18 + -0.33 x mean) | c0 = [24.65, 41.7], c1 = [-0.42, -0.24]
SOL | Actiwatch (Low Threshold) | 113 | 2.96 (2.17) | 8.53 (5.58) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.58 | 0 | 1.13 + -1.16 x mean | b0 = [-0.1, 2.36], b1 = [-1.35, -0.98] | bias - 2.46(0.05 + 0.4 x mean) | c0 = [-0.65, 0.75], c1 = [0.3, 0.51] | bias + 2.46(0.05 + 0.4 x mean) | c0 = [-0.65, 0.75], c1 = [0.3, 0.51]
SOL | Actiwatch (High Threshold) | 113 | 1.63 (1.50) | 8.53 (5.58) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.76 | 0 | 0.77 + -1.51 x mean | b0 = [-0.17, 1.71], b1 = [-1.67, -1.35] | bias - 2.46(0.16 + 0.31 x mean) | c0 = [-0.43, 0.75], c1 = [0.21, 0.41] | bias + 2.46(0.16 + 0.31 x mean) | c0 = [-0.43, 0.75], c1 = [0.21, 0.41]
WASO | Actiwatch (Low Threshold) | 113 | 46.69 (18) | 28.06 (22.46) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.05 | 0.01 | 31.1 + -0.33 x mean | b0 = [20.21, 41.99], b1 = [-0.6, -0.07] | bias - 2.46(-1.85 + 0.49 x mean) | c0 = [-8.45, 4.74], c1 = [0.33, 0.66] | bias + 2.46(-1.85 + 0.49 x mean) | c0 = [-8.45, 4.74], c1 = [0.33, 0.66]
WASO | Actiwatch (High Threshold) | 113 | 19.08 (8.92) | 28.06 (22.46) | classic | 0.95 | TRUE | FALSE | FALSE | TRUE | 0.58 | 0 | 17.24 + -1.11 x mean | b0 = [12.43, 22.05], b1 = [-1.29, -0.94] | bias - 2.46(2.56 + 0.3 x mean) | c0 = [-0.27, 5.39], c1 = [0.19, 0.4] | bias + 2.46(2.56 + 0.3 x mean) | c0 = [-0.27, 5.39], c1 = [0.19, 0.4]
Notes: Sleep-wake summary agreement between Actiwatch and Dreem reference for low and high Actiwatch sensitivity threshold settings. See Supplementary Table S2 notes for additional table details.
Abbreviations: CI, confidence interval; LOA, limits of agreement; SD, standard deviation; SE, sleep efficiency; SOL, sleep onset latency; TST, total sleep time; WASO, wake after sleep onset.

## Table S5
Supplementary Table S5: Actiwatch EBE Sleep-Wake Contingency Tables with Low and High Threshold Settings
Dreem
|  | Wake | Sleep
Actiwatch (Low Threshold) | Wake | 3938 | 7283
| Sleep | 4331 | 83419
Dreem
|  | Wake | Sleep
Actiwatch (High Threshold) | Wake | 2075 | 2606
| Sleep | 6194 | 88096
Notes: EBE contingency tables for all Actiwatch epochs paired in comparison to Dreem headband, for all available Actiwatch sleep-wake epochs with the low and high sensitivity threshold settings.
Abbreviations: EBE, epoch by epoch.

## Table S6
Supplementary Table S6: Actiwatch EBE Sleep-Wake Agreement with Low and High Threshold Settings
| Sensitivity |  | Specificity |  | Accuracy |  | PPV |  | NPV |  | PABAK
Actiwatch Threshold | All Epochs | Between Nights | All Epochs | Between Nights | All Epochs | Between Nights | All Epochs | Between Nights | All Epochs | Between Nights | All Epochs | Between Nights
Low | 0.92 | 0.92 (0.03) [0.91, 0.93] | 0.48 | 0.51 (0.16) [0.48, 0.54] | 0.88 | 0.88 (0.06) [0.87, 0.89] | 0.95 | 0.95 (0.06) [0.94, 0.96] | 0.34 | 0.35 (0.14) [0.33, 0.38] | 0.77 | 0.76 (0.11) [0.74, 0.78]
High | 0.97 | 0.97 (0.01) [0.97, 0.97] | 0.25 | 0.26 (0.12) [0.24, 0.28] | 0.91 | 0.91 (0.06) [0.9, 0.92] | 0.94 | 0.93 (0.06) [0.92, 0.94] | 0.42 | 0.42 (0.17) [0.39, 0.45] | 0.82 | 0.82 (0.12) [0.79, 0.84]
Notes: Proportions for EBE agreement metrics are shown for all sleep epochs (versus wake epochs) for all combined epochs as well as between all nights (irrespective of participant) for the Actiwatch using the low and high sensitivity threshold settings compared with the corresponding epochs from the reference Dreem headband. Values for between-night analyses are presented as mean (SD) [95% confidence interval]. Higher values (closer to 1.0) indicate better performance on that metric.
Abbreviations: EBE, epoch by epoch; NPV, negative predictive value; PABAK, prevalence and bias adjusted kappa; PPV, positive predictive value; SD, standard deviation.