Supplementary Materials

Annex I: Histopathological Procedures (Takulder, 2007)

- Fixation of tissue by 10% neutral buffered formaldehyde

- Trimming part of the tissue in a way that the lesion we require be included or not missed and to fit standard histological processing tissue cassettes (5mm thickness).

- Tissue specimen processing: fixation of tissue by formalin, dehydrating tissue by increasing alcohols concentration, clearing of tissue by xylene, and impregnation of tissue by paraffin wax. Formalin-I 2hr - ---Formalin-II 2hr - --70% Alcohol 1hr --- 95% Alcohol- 100% Alcohol-I1hr--- 100% Alcohol-II 2hrs ----- 100% Alcohol-III 2hrs ----- Xylene-I 1:30hrs ------- Xylene-II 1:30hrs ------ Xylene-III 1:30hrs ------ Paraffin-I 2hrs --- Paraffin-II 3hrs.

- Embedding of processed tissue: impregnated tissue is placed in a mould with their labels and then fresh melted wax (54-600c) is poured and allowed to settle and solidify.

- Sectioning: sectioning of tissue in 3-5 micron thickness and put on water bath to straighten the ribbon, and then adhere on the surface of frost ended and clear slide. Later label and put an incubator overnight.

- Staining: Hematoxyline eosine staining procedure

- Deparaffinize slides in two changes of xylene for 5minutes

- Hydrate slides in three changes of 100% alcohol each for 3minutes and 1 changes of 95% alcohol for a minute and one change of 70% alcohol for 3minutes

- Rinse in distilled water until repples disappear from slides.

- Place in heamatoxyline (mayer’s hematoxline) for 10-15 minutes

- Rinse in tape water until water runs clear

- Decolorize in 1% acid alcohol (Eosin), 3 qiuck dips. Check differentiation microscopically: Nucleic should be distinct; cytoplasm should be uncolored.

- Rinse in tap water until ripples disappear from slides. Stain in eosin, 3 dips.

- Dehydrate in 70% 3 dips, 95% alcohol of 3dips and 100% alcohol, 3 changes each 3minutes.

- Clear in 3 changes of xylene for 5 minutes each. Mount cover glass with DPX.

- Examination of the prepared slides under the microscope

Annex II: Coprological Methods

Procedure of Floatation method:

- Place about 2gram of the fecal sample in a suitable container such as cup.

- Add 30ml of floatation fluid and make an emulsion by mixing the fluid with the feces

- It was strained through a metal tea strainer into second cup

- The floatation fluid is added in to the test tube until a meniscus is formed

- Placed a glass coverslip over the meniscus and allowed to remain for 10-15 minutes

- Then coverslip is removed and placed on slide and examine under the microscope.

Procedure of Sedimentation Techniques:

- Mix two gram of fecal with tap water in a cup

- The mixture is strained by a tea strainer into a centrifuge tube.

- The sample is centrifuged at about 1500 cycle/ minute (rpm)

- Pour off the solution in the top of the tube without disturbed the sediment at the bottom.

- Transfer a small amount of the top layer of the sediment to a slide with pipette and bulb

- The cover slip is placed to the drop and examine under the microscope

Procedures of Baermann Techniques:

- Prepared and spread a piece of gauze and place 5gram of fecal on the gauze

- Then after covered by the warm water

- Allow the feces on the apparatus to remain undistributed overnight

- Placed the petridish under the rubber tube, and open the plug to allow a large drop of fluid to fall on the slide

- A coverslip is applied to the slide and examined microscopically for the presence of larvae

Annex III: Recording Sheets of lesions, recovered worms, hematological and serum biochemical data during research

Recording Sheets of lesions and recovered adult worms

| No | Spp code | Spp of animals | Worm count | Site of infection | Gross lesion | Tissue sample |
| --- | --- | --- | --- | --- | --- | --- |

Hematological parameters of infected and uninfected control sheep and goat

| Animal code | PCV(%) | Hb(g/dl) | RBCx106 | WBCx103 | Blood indices |  |  | Differential WBC Count |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | MCV(fl) | MCH(pg) | MCHC(g/dl) | N% | E% | B% | M% | L% |