I. Questionnaires

Questionnaires for the prevalence, antimicrobial susceptibility pattern and associated factors of Group  B Streptococcus among pregnant women attending antenatal care at Bule Hora University Teaching  Hospital  Participant ID ____________________

Date of interview and data collection (date/month/year): ________/   _____/_________  Interviewer’s name & signature: ____________________

Supervisor’s name & signature: ______________________

Participant code______________________________________

Age  _____ years/months

001 Marital status    Single   Married   Divorced   Widowed

002 Residency    Urban    Rural

003 Educational status   No formal education   Grade 1-8   Grade 9-12   College and University

004 Occupation  Employed   Unemployed

005 Gravidity  Primigravid   Multigravid

006 Number of ANC visits _____________

007 History of contraceptive use   Yes   No  008 History of antibiotics use    Yes   42  No

009 HIV status of mother       Yes    No

010 History of stillbirth        Yes   No

011 History of abortion      Yes   No

012 Vaginal discharges  Yes   No

013 History of preterm delivery  Yes   No

014  History of Premature rupture of  Yes  membrane    No

II. Laboratory procedures

Laboratory protocol

• Provide written consent form for pregnant women willing to participate in the study before sample collection

• Collection of clinical data from physician/midwives

• Socio-demographic data will be collected with a well-standardized questionnaire

Specimen collection

1. The patient is positioned in a lithotomy position on the exam table (as for a pelvic examination).

2. Using sterile cotton swabs to obtain a sample of vaginal discharge without use of a speculum.  The fluid specimen can be obtained directly from the mucosa of the lower vagina.  Laboratory Procedures for Group B streptococcus

1. Gram staining   Principles

The principle of Gram’s stain is that cells are first fixed to slide by heat or alcohol and stained with  a basic dye (e.g., crystal violate), which is taken up in similar amounts by all bacteria. The slides  are then treated with a Gram’s iodine (iodine KI mixture) to fix (mordant) the crystal violet stain  on Gram positive bacteria, decolorized with acetone or alcohol, and finally counter stained with  Safranin.  Reagents Used in Gram Staining

• Crystal Violet, the primary stain  • Iodine, the mordant  • A decolorizer made of acetone and alcohol (95%)   • Safranin, the counterstain  The procedure of Gram Staining

1. Take a clean, grease-free slide.

2. Prepare the smear from the colony growth.

3. Air dry and heat fix.

4. Crystal Violet was poured and kept for about 30 seconds to 1 minute and rinsed with water.

5. Flood the gram’s iodine for 1 minute and wash with water.

6. Then, wash with 95% alcohol or acetone for about 10-20 seconds and rinse with water.

7. Add safranin for about 1 minute and wash with water.

8. Air dry and observe under the Microscope.

Interpretation

- Gram Positive: Blue/Purple Color

- Gram Negative: Red Color

2. Biochemical test

A. Catalase test. This test is used to differentiate those bacteria that produce the enzyme catalase Staphylococci from non-catalase-producing bacteria Streptococci. Principle: Catalase acts as a catalyst in the breakdown of hydrogen peroxide to oxygen and water.  An organism is tested for catalase production by bringing it in to contact with hydrogen peroxide. Bubbles of oxygen are released if the organism is a catalase producer. The culture should not be more than 24 hours old  Procedure

Slide Method

1. Use a loop or sterile wooden stick to transfer a small amount of colony growth in the  surface of a clean, dry glass slide.  46

2. Place a drop of 3% H O in the glass slide.  2 2

3. Observe for the evolution of oxygen bubbles

Results  Active bubbling ----- Positive test-   Catalase produced  No release of bubbles ----- Negative test - No catalase produced     Quality Control strains for catalase test  Positive: Staphylococcus aureus– ATCC 33592  Negative: Enterococcus faecalis– ATCC 29212    B. CAMP Test:   The CAMP test is used to distinguish the species Streptococcus agalactiae from other species of  beta-hemolytic Streptococcus.  Principle  A CAMP (Christite, Atkins, Munch, Petersen) test is considered a presumptive identification of a  positive GBS culture. In short, Staphylococcus aureus will be inoculated onto the SBA plate by  making a narrow streak down the center of the plate with a loop.  Then, the test organism (GBS)  will be streaked in a straight-line inoculum at right angles to Staphylococcus aureus within 2mm.  Then, the plate will be incubated at 35°C for 24 hours. A positive CAMP test will be identified by  an “arrowhead” shaped enhanced zone of beta-hemolysis in the area between the two cultures with  the “arrow point” toward the S. aureus streak. In a CAMP negative reaction, no enhanced zone of  beta-hemolysis will be observed. In addition, the bacitracin test will be used to differentiate GBS  from group A streptococcus which is both beta-hemolytic. Then, antibiotic susceptibility testing  of S. agalactiae isolates will be measured and the result will be interpreted following the guidelines  of the Clinical and Laboratory Institute Standards (CLSI).

The procedure of the CAMP test

1. Streak a beta-lysin–producing strain of S. aureus down the center of a sheep blood  agar plate.  2. The streptococcal streak should be 3 to 4 cm long.  47

3. Streak test organisms across the plate perpendicular to the S. aureus streak within  2 mm. (Multiple organisms can be tested on a single plate).

4. Incubate at 35°-37°C in ambient air for 18-24 hours.

5. Group B streptococci and a few other beta-streptococci produce an enhancement of  the ß-lysin activity of the aureus strain.

Result Interpretation of the CAMP test

Positive: Enhanced hemolysis is indicated by an arrowhead-shaped zone of beta-hemolysis  at the junction of the two organisms.

Negative: No enhancement of hemolysis.

Quality Control for CAMP test

Positive: Streptococcus agalactiae (ATCC13813)-enhanced arrowhead hemolysis.  Negative: Streptococcus pyogenes (ATCC19615)-beta-hemolysis without enhanced  arrowhead formation.

Antimicrobial Susceptibility Test: (Kirby Bauer, 1966 Method)

Antimicrobial susceptibility testing will be performed in line with Clinical and Laboratory  Standard Institute guidelines (CLSI, 2014) by disk diffusion. A suspension of a testing organism  will be prepared by removing 3-5 colonies from a pure culture plate by emulsifying in 3ml of  sterile physiological saline and can be diluted with saline until the turbidity of the suspension  becomes matched with the turbidity standard corresponding to 0.5 McFarland and inoculated on  Muller-Hinton Agar (MHA, Oxoid, England) with 5% sheep’s blood.  After excess suspension  will be removed by gentle rotation of the swab against the surface of the tube, the swab will then  use to distribute the bacteria evenly over the whole surface of MHA supplemented with 5% sheep  blood.

Materials

• MHA, Tryptic Soy Broth (TSB), Normal Saline Solution (NSS)

• Antimicrobial disks

• 0.5 McFarland Standard   48

• Sterile cotton swabs

• Ruler or caliper   Specimen   Pure culture of the organisms from an 18–24-hour agar plate, preferably a nonselective medium like sheep blood agar.

Procedure

1. Bring agar plates and antibiotic disks to room temperature before use.

2. Select 3 – 5 well-isolated colonies of the same morphologic type from an agar plate culture.   3. Touch the top of each colony with a loop and transfer the growth into a tube containing 4- 5 ml of TSB or NSS.

4. Mix well and adjust turbidity with broth or NSS to match 0.5 McFarland standard.

5. Within 15 minutes of adjusting turbidity, dip a sterile cotton-tipped applicator swab into  the inoculum and rotate against the wall of the tube to remove excess inoculum.

6. Swab the entire surface of the agar plate three times, rotating the plate approximately 60  between streaking to ensure even distribution. As a final step, swab the rim of the agar.

7. Allow the inoculated plate to stand for 3-15 minutes (no longer than 15 minutes) before  applying disks.

8. Apply antibiotic disks to the agar surface using sterile forceps or a dispenser. Apply gentle  pressure to ensure complete contact of the disk with the agar.

9. Do not relocate a disk once it has made contact with the agar surface. Instead, place a new  disk in another location on the agar.

10. Place no more than 12 disks on a 150 mm plate and no more than 5 disks on a 100 mm  plate.   11. Plate and incubate within 15 minutes of disk application. Incubate for 16 – 18 hours at 35±  2 in an ambient air incubator

Reading and Interpretation

Read plates only if the lawn of growth is confluent.

If individual colonies are apparent, the  inoculum will be too light and the test must be repeated.

• Hold the inverted plate a few inches above a black non-reflecting surface.  Illuminate plate with reflected light.

• Use a ruler held on the back of the plate to measure the diameter of the zone of  inhibition.   • Measure the diameters of the zones of complete inhibition (as judged by the unaided  eye), including the diameter of the disk. Ignore the faint growth of tiny colonies  that can be detected only with a magnifying lens at the edge of the inhibited growth.

• Measure the zones to the nearest millimeter (mm).

• Refer to CLSI M100 tables for interpretation of zone sizes.

Reporting

• Report the organisms as either Susceptible (S), Intermediate (I), or Resistant (R) to  the antimicrobial agents that will be tested.