Appendix 1: Representative chromatograms

Curcumin

- Blank

- CC-1

- ULOQ

- HQC

- MQC

- LQC

- Representative sample

Demethoxy Curcumin

- Blank

- CC-1

- ULOQ

- HQC

- MQC

- LQC

- Representative sample

Bis-demethoxy Curcumin

- Blank

- CC-1

- ULOQ

- HQC

- MQC

- LQC

- Representative sample

Appendix 2: Transwell Plate Map for Permeability assay

Supplementary Table 1: Chromatography parameters used for LC-MS/MS assay of the samples collected from the permeability assay/experiment at different time points

| Parameter | Value |
| --- | --- |
| Polarity | Negative ion mode |
| Column oven temperature | 40°C |
| Peltier temperature | 10°C |
| Mobile phase | 0.2% formic acid in water:acetonitrile (30:70) |
| Detection ions |  |
| Curcumin | 367.500 amu (parent), 134.000 amu (product) |
| Curcumin-D6 | 373.300 amu (parent), 152.000 amu (product) |
| Demethoxycurcumin | 338.100 amu (parent), 119.100 amu (product) |
| Bisdemethoxycurcumin | 308.100 amu (parent), 119.100 amu (product) |
| Retention time |  |
| Curcumin | 1.84 ± 0.5 min |
| Curcumin-D6 | 1.82 ± 0.5 min |
| Demethoxycurcumin | 1.71 ± 0.5 min |
| Bisdemethoxycurcumin | 1.59 ± 0.5 min |
| Run time | 3 min |

Supplementary Table 2: Spectrometric parameters used for LC-MS/MS assay of the samples collected from the permeability assay/experiment at different time points

| Ion spray voltage | −4500 V |
| --- | --- |
| Curtain gas | Psis |
| CAD gas | Psis |
| Temperature | 550°C |
| Gas 1 | Psis |
| Gas 2 | Psis |
| Entrance potential | −10.00 |
| Declustering potential |  |
| Curcumin | −50 |
| Curcumin-D6 | −60 |
| Demethoxycurcumin | −60 |
| Bisdemethoxycurcumin | −60 |
| Collision potential |  |
| Curcumin | −45 |
| Curcumin-D6 | −26 |
| Demethoxycurcumin | −41 |
| Bisdemethoxycurcumin | −38 |
| Collision cell exit potential |  |
| Curcumin | −24 |
| Curcumin-D6 | −10 |
| Demethoxycurcumin | −8 |
| Bisdemethoxycurcumin | −9 |