	                         
	AceSight

	eSight 3
	IrisVision Live
	Jordy

	Price in DKK excluding tax
	34.500 

	59.500
	29.500
	19.988

	Manufacturer

	Zoomax Technology Co. (USA)
	eSight corp. (Canada)
	IrisVision Global Inc. (USA)
	Enhanced vision (USA)

	Magnification
	From 1.1x to 15x

	Up to 24x
	From 1x to 12x
	Up to 30x (in a 2-meter distance) 

	Autofocus 
	Yes (can be locked in settings)
	Yes
	Yes
	Yes

	Camera resolution
	8 megapixels
	21.5 megapixels
	12 megapixels
	720p HD (0.9 megapixels)

	Screen resolution
	1920 x 1080
	1024 x 768 OLED
	2560 x 1440 OLED
	1280×720 

	Field of view
	45 degrees horizontal per eye
	37.5 degrees diagonally per eye
	70 degrees horizontally
	N/A

	Contrast
	Black/white
Blue/white
Black/yellow
Blue/yellow
Green/black
All colours can be inverted
	Inverted 
Black/white
Blue/white
Blue/yellow
Yellow/blue

	Inverted
Black/white
Green
Yellow

	Inverted
Black/white
Green/black
Yellow/black
Yellow/blue


	Overview in zoom
	Yes
	Yes
	No
	Yes

	Navigation in ”frozen picture”
	Yes, with head-movement
	Yes, with head-movement
	Yes, with head-movement
	Yes, but only central zoom

	Adjustable brightness
	Yes
	Yes
	Yes
	Yes

	Remote control
	Yes, with a wire
	Yes, with a wire
	No
	Yes, with a wire

	Battery life
	4 hours
	6 hours
	3.5 hours
	4 and 8 hours (two battery sizes)

	HDMI connection 
	No
	Yes
	No (streaming will soon be an option)
	Yes 

	Head-mounted weight
	360 g
	104 g
	498 g
	236 g 

	Additional features
	Contour outlining
Reduced image
	Tablet for instruction
	Line reading
Bioptic mode
Bubble view
Reduced image
	Anti-glare shield
HDMI cable


	Spectacle correction
	Possible to wear glasses with the HMD
	Prescription insertion
	Possible to wear glasses with the HMD
	Prescription insertion

	Adjustment of pupillary distance
	Yes
	Yes
	Yes (in the software)
	No

	Accessories
	
	Extra batteries can be purchased
	Wireless charger and remote control can be purchased

	CCTV stand (11.200 DKK inc. tax)


Supplementary Table A1. Overview illustrating differences between the head-mounted displays





















DKK = danish kroners




Information Classification: General

Information Classification: General

Information Classification: General

[bookmark: _Hlk136368307][bookmark: _Hlk148951386]Supplementary Table A2. Assessment of the performance and satisfaction of tasks wearing the head-mounted displays. Six participants evaluated the devices from 1 (worst) to 10 (best). The baseline values are measurements without wearing a head-mounted display. Outdoor distance tasks were not assessed for IrisVision. The number of evaluations of the task is noted in parentheses. Phase 3-6.
	
	
	Baseline
	AceSight
	eSight
	IrisVision
	Jordy

	Activity
	Importance
	Performance
	Satisfaction
	Performance
	Satisfaction
	Performance
	Satisfaction
	Performance
	Satisfaction
	Performance
	Satisfaction

	Indoor distance tasks

	8.0 (9)
	2.1 (9)
	1.8 (9)
	4.7 (6)
	3.3 (6)
	6.0 (4)
	4.5 (4)
	9.3 (3)
	9.7 (3)
	1.8 (4)
	1.3 (4)

	Reading

	8.1 (7)
	3.6 (7)
	3.0 (7)
	5.0 (5)
	3.8 (5)
	3.3 (3)
	3.3 (3)
	7.0 (1)
	10.0 (1)
	2.4 (5)
	1.8 (5)

	Outdoor distance tasks

	9.0 (4)
	4.3 (4)
	3.8 (4)
	6.7 (3)
	6.3 (3)
	7. 3(3)
	5.3 (3)
	
	
	1.0 (1)
	1.0 (1)

	Near tasks

	8.4 (7)
	3.1 (7)
	2.6 (7)
	4.4 (5)
	4.6 (5)
	1.0 (1)
	2.0 (1)
	3.0 (2)
	5.0 (2)
	2.8 (4)
	2.0 (4)

	Computer-related tasks

	10.0 (2)
	7.5 (2)
	5.0 (2)
	1.0 (1)
	1.0 (1)
	7.0 (1)
	1.0 (1)
	3.0 (1)
	6.0 (1)
	2.0 (1)
	1.0 (1)

	Mean score
	8.7
	4.1
	3.2
	4.4
	3.8
	4.9
	3.2
	5.6
	7.7
	2.0
	1.4







	


