- Determination of ANG using UPLC

UPLC analysis was performed using a ACQUITY H Class UPLC system (Waters, MA, USA). A Waters ACQUITY UPLC CSH130 C18 column (2.1 × 100 mm, 1.7 μm particle size) was used for separation. The mobile phase, pumped at a flow rate of 0.3 mL/min, consisted of solvents B (0.1% formic acid in acetonitrile), C (water) and D (0.1% formic acid in water), with the following proportions of solvent B and C in the 10 min gradient elution program:0~1 min, 2% B and 9.8% C, 1~2 min, 2~10% B and 9.8~9.0%C, 2~7 min, 10~15% B and 9.0~8.5% C, 7~7.5 min, 15~50% B and 8.5~5% C, 7.5~8.0 min, 50~2% B, 5.0~9.8% C, 8~10 min, 2% B and 9.8% C. The injection volume was 10 μL. The UV detection was measured at 275.8 nm.

- Determination of ECH using UPLC

UPLC analysis was performed using a ACQUITY H Class UPLC system (Waters, MA, USA). A Waters ACQUITY UPLC BEH C18 column (2.1 × 50 mm, 1.7 μm particle size) was used for separation. The mobile phase, pumped at a flow rate of 0.4 mL/min, consisted of solvents A (0.1% formic acid in water) and B (acetonitrile), with the following proportions of solvent B in the 10 min gradient elution program: 10% for 0 min, linearly increased to 50% in 5 min, a fast increase to 70% in 0.5 min, reversal to starting conditions. The injection volume was 1 μL. The UV detection was measured at 330 nm.

- Determination of ECH using UPLC-MS/MS

The UPLC-MS/MS system utilized in this study consisted of an ExionLC AC UPLC system (AB SCIEX, Framingham, MA, USA), which was conjugated to an API 6500+ triple quadrupole mass spectrometer (AB SCIEX, Framingham, MA, USA). To facilitate the separation of compounds, a Waters ACQUITY UPLC BEH C18 column measuring 2.1 × 50 mm and containing particles with a size of 1.7 μm was employed. The column oven temperature was set at 40℃, while the autosampler temperature was maintained at 15℃. The mobile phase was composed of two solvents: solvent A, consisting of water with 0.1% formic acid, and solvent B, which was acetonitrile. The solvent B’ gradient elution program lasted for 10 min and involved the following proportions: 10% for 0 min, linearly increased to 30% in 6 min, a rapid increase to 90% in 1.1 min, maintenance at 90% for 1 min, and finally, a return to the starting conditions while the pumping rate exhibited a flow of 0.3 mL/min. The API 6500+ mass spectrometer was equipped with an ESI source (Ion DriveTM TurboV) and operated in negative mode. The source temperature was set at 550℃, and the ion spray voltage at -4500 V. Gas pressure setting was 55 psi for gas 1 and gas 2, and 40 psi for the curtain gas. The arbitrary vacuum setting for collision-activated dissociation was 6 Pa. The analytes were identified through the utilization of the scheduled multiple reaction monitoring (MRM) mode. Table S1 presents the MRM transitions and optimized mass spectrometric parameters for ECH and the internal standards.

Table S1. MRM transitions and optimized conditions

| Analyte | tR/min | Precursor ion (m/z) | Product ion (m/z) | DP/V | CE/V |
| --- | --- | --- | --- | --- | --- |
| Echinacoside | 3.40 | 785.2 | 623.0 | -230 | -52 |
| Verbascoside(IS) | 4.35 | 623.2 | 161.0 | -240 | -44 |

- Determination of the levels of dopamine and its metabolites using UPLC-MS/MS

The separation procedure employed a Waters ACQUITY UPLC CSH C18 column measuring 2.1 × 100 mm and containing particles with a size of 1.7 μm. The temperature of the column oven was set to 40℃, whereas the autosampler was adjusted to 4℃. The mobile phase was administered at a flow rate of 0.2 mL/min and comprised of solvents A and B. Solvent A was composed of 0.1% formic acid in water with 10 mM ammonium formate, while solvent B was acetonitrile. The gradient elution program of solvent B lasted for 10 minutes and involved varying proportions of solvent B. The initial concentration was set at 5% for a duration of 0 min, which was then maintained for an additional 1 min. Subsequently, the concentration was linearly increased over a period of 8 min until it reached 95%. Finally, the conditions were reversed back to the initial concentration.

The mass spectrometer in this study was the API 6500+ model, which was equipped with an ESI source known as Ion DriveTM TurboV. The instrument was utilized in a mode of positive ionization. The temperature of the source was adjusted to 550℃, while the ion spray voltage was set to 4500 V. The gas pressure setting for gas 1 and gas 2 was recorded as 55 psi, while the curtain gas was adjusted to 40 psi. The vacuum pressure utilized for collision-activated dissociation was set at 6 Pa. The analytes were identified through the utilization of the scheduled MRM mode. The MRM transitions and optimized mass spectrometric parameters for dopamine and its metabolites are listed in Table S2.

Table S2. MRM transitions and optimized conditions

| Analyte | tR/min | Precursor ion (m/z) | Product ion (m/z) | DP/V | CE/V |
| --- | --- | --- | --- | --- | --- |
| Dopamine | 1.69 | 154.4 | 137.0 | 30 | 16 |
| DOPAC | 0.20 | 151.3 | 105.1 | 106 | 25 |
| HVA | 0.20 | 183.3 | 137.0 | 90 | 21 |

Fig. S1. 1H NMR spectra of MAL-Lip (A), ANG (B), and ANG-Lip (C). The MAL-Lip was dissolved in CDCl3; the ANG was dissolved in DMSO-d6, and the ANG-Lip was dissolved in a mixture (5:1) of DMSO-d6 and CDCl3.

Fig. S2. Body weight of treated mice were monitored (n = 12)

Fig.S3. Evaluation of BBB leakage using Evans blue with MPTP-treated and untreated mice (A) Photographs of brain tissues. (B) The level of Evans blue in brain tissues 0.5 h following intravenous injection. Data are mean ± SD (n=3).