Supplementary Material

Supplementary Figure S1 The detailed information of complement and coagulation cascades related key targets regulated by GXNT.

Supplementary Figure S2 The detailed information of inflammation related key targets regulated by GXNT.

Supplementary Table S1 The regression equation, linear range, and lower limit of quantification (LLOQ) of the analytes.

| Tissue | Analytes | Regression equation | R2 | Linear range (ng/mL) | LLOQ (ng/mL) |
| --- | --- | --- | --- | --- | --- |
| Brain | Senkyunolide I | y = 0.0005x + 0.0014 | 0.9960 | 0.1893-10600 | 0.1893 |
|  | Protocatechuic acid | y = 0.4991x + 1.1418 | 0.9951 | 0.06872-10600 | 0.0687 |
|  | Danshensu | y = 0.0015x + 0.0054 | 0.9921 | 0.2160-10300 | 0.2160 |

Supplementary Table S2 Intra-day and inter-day precision and accuracy for the determination of analytes in brain tissue (n = 6).

| Tissue | Analytes | Nominal concentration (ng/mL) | Inter-day |  |  | Intra-day |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Observed concentration (ng/mL) | Precision (RSD, %) | Accuracy (RE, %) | Observed concentration (ng/mL) | Precision (RSD, %) | Accuracy (RE, %) |
| Brain | Senkyunolide I | 5000 | 5322.14 | 3.36 | 6.44 | 5044.44 | 4.19 | 0.89 |
|  |  | 1250 | 1182.41 | 6.37 | -5.41 | 1061.91 | 6.35 | -11.85 |
|  |  | 312 | 278.95 | 10.53 | -10.74 | 252.98 | 8.65 | -6.25 |
|  | Protocatechuic acid | 5000 | 5208.03 | 3.31 | 4.16 | 4996.31 | 2.64 | -0.07 |
|  |  | 1250 | 1321.87 | 7.39 | 5.75 | 1389.55 | 7.34 | 11.16 |
|  |  | 312 | 308.33 | 2.74 | -1.33 | 313.44 | 2.47 | 0.30 |
|  | Danshensu | 5000 | 4605.96 | 7.38 | -7.88 | 4650.52 | 8.71 | -6.99 |
|  |  | 1250 | 1249.69 | 8.04 | -0.03 | 1368.17 | 4.91 | 9.45 |
|  |  | 312 | 339.68 | 3.81 | 8.70 | 352.72 | 3.89 | 12.87 |

Supplementary Table S3 The matrix effect and extraction recovery for the analytes in brain tissue (n = 6).

| Tissue | Analytes | Spiked concentration (ng/mL) | Matrix effect |  | Recovery |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Mean ± SD (%) | RSD (%) | Mean ± SD (%) | RSD (%) |
| Brain | Senkyunolide I | 10000 | 86.84±8.54 | 9.83 | 87.33±5.36 | 6.14 |
|  |  | 5000 | 100.45±5.50 | 5.47 | 101.61±5.44 | 5.36 |
|  |  | 2500 | 101.78±8.02 | 7.88 | 104.70±11.43 | 10.92 |
|  | Protocatechuic acid | 10000 | 100.52±3.33 | 3.31 | 101.04±3.69 | 3.65 |
|  |  | 5000 | 98.15±4.99 | 5.08 | 99.27±4.01 | 4.03 |
|  |  | 2500 | 87.38±7.08 | 8.10 | 87.42±8.25 | 9.44 |
|  | Danshensu | 10000 | 111.98±7.10 | 6.34 | 107.66±6.58 | 6.11 |
|  |  | 5000 | 85.48±7.76 | 9.07 | 85.51±8.39 | 9.81 |
|  |  | 2500 | 112.07±8.13 | 7.25 | 107.19±10.52 | 9.82 |

Supplementary Table S4 The stability of analytes in brain tissue under different storage conditions (n = 6).

| Tissue | Analytes | Nominal concentration (ng/mL) | 25 °C for 4 h |  | Frozen for 30 days |  | Three-freeze–thaw cycles |  | 4°C for 24 h |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Precision (RSD, %) | Accuracy (RE, %) | Precision (RSD, %) | Accuracy (RE, %) | Precision (RSD, %) | Accuracy (RE, %) | Precision (RSD, %) | Accuracy (RE, %) |
| Brain | Senkyunolide I | 10000 | 7.28 | -7.75 | 9.17 | -8.03 | 9.13 | -10.01 | 9.18 | -10.21 |
|  |  | 2500 | 4.75 | 7.81 | 4.84 | 9.47 | 3.57 | 11.91 | 4.69 | 7.61 |
|  |  | 625 | 3.33 | -5.26 | 3.27 | -11.65 | 1.68 | -11.13 | 2.93 | -10.91 |
|  | Protocatechuic acid | 10000 | 2.64 | 6.53 | 0.74 | 8.71 | 2.90 | 7.02 | 2.91 | 7.07 |
|  |  | 2500 | 5.04 | -7.30 | 4.31 | -11.15 | 5.13 | -10.01 | 5.36 | -9.23 |
|  |  | 625 | 2.34 | 10.50 | 2.38 | 12.35 | 2.57 | 11.44 | 2.57 | 11.77 |
|  | Danshensu | 10000 | 4.70 | 12.06 | 5.63 | 10.72 | 4.89 | 10.98 | 4.48 | 10.64 |
|  |  | 2500 | 5.75 | 8.27 | 4.83 | 12.31 | 6.70 | 9.53 | 6.94 | 12.29 |
|  |  | 625 | 5.65 | -10.08 | 6.10 | -11.03 | 5.18 | -8.36 | 5.37 | -12.09 |