Table S1. 5W1H checklist used to investigate the reasons of sample rejection

| Why | 5.3 | 5.4 | 5.5 | 5.6 | 5.7 | 5.8 | 5.9 | Sum |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample without Collection Info | 5 | 5 | 2 | 8 | 40 | 13 | 13 | 85 |
| Clotted samples | 0 | 1 | 0 | 2 | 2 | 0 | 3 | 8 |
| Incorrect sample type | 0 | 0 | 0 | 2 | 4 | 1 | 0 | 7 |
| haemolysed samples | 0 | 1 | 0 | 1 | 3 | 0 | 1 | 6 |
| Incorrect specimen collection container | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 5 |
| poor-quality sputum specimens | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 4 |
| Sample leaked in transit | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 |
| Insufficient specimen volume | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 |
| Sum | 5 | 11 | 2 | 14 | 54 | 15 | 16 | 117 |
| What: Investigate the reasons for sample recall |  |  |  |  |  |  |  |  |
| Who: Personnel :LBJ |  |  |  |  |  |  |  |  |
| When: May 3, 2021 to May 9, 2021 |  |  |  |  |  |  |  |  |
| Where: Clinical laboratory |  |  |  |  |  |  |  |  |
| How: Retrieve sample recall records using the Laboratory Information System |  |  |  |  |  |  |  |  |

Table S2. Root Cause Analysis (RCA) Scoring Sheet for “Sample without Collection Info”

| Cause | Score |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Member1 | Member2 | Member3 | Member4 | Member5 | Member6 | Member7 | Member8 | Sum |
| People |  |  |  |  |  |  |  |  |  |
| Nurses forget to scan the bar code | 3 | 3 | 3 | 5 | 5 | 3 | 5 | 3 | 30 |
| Inadequate supervision | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 40 |
| Equipment |  |  |  |  |  |  |  |  |  |
| Bar code scanning devices are not sensitive | 3 | 3 | 3 | 3 | 3 | 3 | 1 | 1 | 20 |
| The computer software lacks a sample bar code scanning interface | 1 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 10 |
| Policy |  |  |  |  |  |  |  |  |  |
| Inconsistent operational procedures in some departments | 5 | 3 | 5 | 3 | 5 | 3 | 3 | 3 | 30 |
| Inadequate communication and dissemination of the new specimen collection process | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 40 |
| Material |  |  |  |  |  |  |  |  |  |
| blurred bar code | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 24 |
| Note: In the quality control circle, members have assigned ratings on a scale of 1 (not important), 3 (moderately important), and 5 (very important) to assess each factor. A total of 8 circle members participated in the scoring process, with a maximum possible total score of 40. According to the Pareto principle, factors scoring 32 or above are considered root causes. |  |  |  |  |  |  |  |  |  |

Table S3. Root Cause Analysis (RCA) Scoring Sheet for “Clotted Specimen”

| Cause | Score |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Member1 | Member2 | Member3 | Member4 | Member5 | Member6 | Member7 | Member8 | Sum |
| People |  |  |  |  |  |  |  |  |  |
| Patient's medication intake | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 1 | 20 |
| Inadequate post-blood collection mixing | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 40 |
| Equipment |  |  |  |  |  |  |  |  |  |
| Suboptimal blood flow during venipuncture | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 40 |
| Policy |  |  |  |  |  |  |  |  |  |
| Incorrect specimen collection order | 3 | 5 | 5 | 3 | 5 | 5 | 5 | 5 | 36 |
| Material |  |  |  |  |  |  |  |  |  |
| Non-compliant blood collection tube quality | 3 | 5 | 5 | 3 | 5 | 3 | 5 | 3 | 30 |
| Note: In the quality control circle, members have assigned ratings on a scale of 1 (not important), 3 (moderately important), and 5 (very important) to assess each factor. A total of 8 circle members participated in the scoring process, with a maximum possible total score of 40. According to the Pareto principle, factors scoring 32 or above are considered root causes. |  |  |  |  |  |  |  |  |  |

Table S4. The Fundamental Cause and Interventions Measures

| Factors | Fundamental Cause | Interventions Measures |
| --- | --- | --- |
| Sample without Collection Info | - inadequate communication and dissemination of the new specimen collection process | Establish a WeChat group for specimen collection coordinators. If a nurse has any questions about the collection conditions or procedures for a specimen, they can directly consult with our colleagues in the group |
|  | - inadequate supervision | Set up a quality control team in the nursing department |
|  | - Bar code scanning devices are not sensitive | Organize regular maintenance of personal digital assistant (PDA) devices by nursing staff |
|  | - the computer software lacks a sample bar code scanning interface | Coordinate with the Information Technology Department to maintain computer software without collection interfaces. |
|  | - blurred bar code | Conduct training on the use of bar code printers. |
|  | - inconsistent operational procedures in some departments | Develop a standard operating procedure (SOP) for the specimen collection process and communicate it to clinical nurses and laboratory staff through a meeting. Distribute the SOP and provide training and competency assessment for all nurses involved. |
|  | - nurses forget to scan the bar code | Strengthen training for all nurses, and nursing assistants who may transport specimens. Include forgetting to scan the bar code as one of the performance evaluation indicators for nurse compensation |
| Clotted samples | - Incorrect specimen collection order | Develop a SOP for the specimen collection process and provide training on blood collection order. |
|  | - patient's medication intake | Inform the Nursing Department to inquire about medication usage before blood collection and implement measures to delay blood collection for patients taking medication |
|  | - Sub-optimal blood flow during venipuncture | Standardize blood collection procedures, with a tourniquet application time not exceeding 1 minute. |
|  | - non-compliant blood collection tube quality | Establish a management program for the quality of reagents and consumables in the laboratory and enhance their quality control. |
|  | - inadequate post-blood collection mixing | Standardize the number of inversions for blood collection tubes. |

Table S5. 5W1H checklist used to investigate the reasons for sample rejection after QCC activities

| Why | 6.6 | 6.7 | 6.8 | 6.9 | 6.10 | 6.11 | 6.12 | Sum |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample without Collection Info | 0 | 2 | 11 | 3 | 7 | 3 | 0 | 26 |
| Clotted samples | 2 | 1 | 2 | 0 | 0 | 1 | 0 | 6 |
| Incorrect sample type | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| haemolysed samples | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2 |
| Incorrect specimen collection container | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 3 |
| poor-quality sputum specimens | 0 | 0 | 0 | 2 | 0 | 10 | 0 | 12 |
| Sample leaked in transit | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 |
| Insufficient specimen volume | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 2 |
| Sum | 3 | 6 | 15 | 5 | 8 | 14 | 1 | 52 |
| What: Investigate the reasons for sample recall |  |  |  |  |  |  |  |  |
| Who: Personnel LBJ |  |  |  |  |  |  |  |  |
| When: June 6, 2022 to June 12, 2022 |  |  |  |  |  |  |  |  |
| Where: Clinical laboratory |  |  |  |  |  |  |  |  |
| How: Retrieve sample recall records using the Laboratory Information System |  |  |  |  |  |  |  |  |

Figure S1. Display of the specimen collection process after scanning in the laboratory